## Main
L-3 COMMUNICATIONS CINCINNATI ELECTRONICS
DATE: | 2016-10-10 |  |  |  |  | TEST AREA: | Environmental Lab
TECHNICIAN: | 11069 |  | CUSTOMER: | OCU |  | TEST TYPE: | VIBE
INSTRUMENT |  | MANUFACTURER |  | MODEL # | SERIAL # | CE # | CAL REQ | CALDUE | Note 1 | Note 2
ACCELEROMETER |  | DYTRAN INSTRUMENTS, INC. |  | 3049E | 1620 | E11992 | CAL | 2016-11-13
ACCELEROMETER |  | DYTRAN INSTRUMENTS, INC. |  | 3049E | 1705 | E12806 | CAL | 2017-01-15
ACCELEROMETER |  | DYTRAN INSTRUMENTS, INC. |  | 3049E | 1436 | E10727 | CAL | 2016-12-17
Accel power supply (8 Chan with Filter) |  | PCB PIEZOTRONICS, INC. |  | 498A-0057 | 174 | E6740 | CAL | 2017-07-27
Data Acquisition System/Vibe Controller |  | DATA PHYSICS |  | 70880 | 14005205 | E11662 | CAL | 2017-01-25
Vibration Protector Monitor |  | UNHOLTZ-DICKIE CORPORATION |  | AM123 | 889 | E12787 | CAL | 2017-03-29
Dual Mode Amp |  | KISTLER |  | 5010B | 2154612 | E11668 | CAL | 2016-11-19
Dual Mode Amp |  | KISTLER |  | 5010B | 2154607 | E11667 | CAL | 2017-08-09
Dual Mode Amp |  | KISTLER |  | 5010B | 4885094 | E12433 | CAL | 2017-08-29
Dual Mode Amp |  | KISTLER |  | 5010B | 4885095 | E12434 | CAL | 2017-08-29
Force Gage |  | KISTLER |  | 9027C | 4663911 | E11685 | CAL | 2016-12-08
Force Gage |  | KISTLER |  | 9027C | 4663918 | E11686 | CAL | 2016-12-08
Force Gage |  | KISTLER |  | 9028C | 4710649 | E11687 | CAL | 2016-12-08
Force Gage |  | KISTLER |  | 9028C | 4710662 | E11688 | CAL | 2016-12-08
AC Power Supply |  | PCB PIEZOTRONICS, INC. |  | 441A101 | 4388 | E11782 | NCR | 2018-01-13
Vibration controller |  | UNHOLTZ-DICKIE CORPORATION |  | VWIN II-4CH | 10019491 | E9036 | CAL | 2017-04-05
Vibration Exciter |  | UNHOLTZ-DICKIE CORPORATION |  | T100032WL | 552 | E4387 | CAL | 2016-12-17
Grounding Station - T1000 Shaker |  | L-3 CINCINNATI ELECTRONICS |  | CATEGORY 7 | NONE | E3108 | CAL | 2017-07-11
Hoist 1 (2 ton) - T1000 shaker |  | HARRINGTON HOISTS INC. |  | ERIA-750 | LE3093001 | E3193 | CAL | 2017-01-05
Digital Multimeter |  | FLUKE |  | 77 IV | 33190032 | E12769 | CAL | 2017-01-21
Torque wrench (Dial) 0-12 in/lbs |  | SNAP ON |  | TQS1A | 9107 | E13214 | CAL | 2017-07-25
Torque wrench (10 to 100 ft/lbs) |  | SNAP-ON |  | QD2R100A | 1115601233 | E12750 | CAL | 2016-11-10
3 Slot Chassis |  | PCB PIEZOTRONICS, INC. |  | 441A33 | 727 | E11783 | NCR | 2018-01-13
Summing Module |  | PCB PIEZOTRONICS, INC. |  | 070M69 | 3171 | E11628 | CAL | 2016-10-14
Accelerometer |  | ENDEVCO |  | 2226C | A71C | 9304-03131 | CAL | 2017-07-29
Accelerometer |  | ENDEVCO |  | 2226C | ANRA2 | E0336 | CAL | 2017-01-12
Accelerometer |  | #N/A |  | #N/A | #N/A | E0374 | #N/A | #N/A
Accelerometer |  | #N/A |  | #N/A | #N/A | E0560 | #N/A | #N/A
Accelerometer |  | #N/A |  | #N/A | #N/A | E0613 | #N/A | #N/A
Accelerometer (ICP) |  | PCB PIEZOTRONICS, INC. |  | 353B33 | C60038 | E3042 | CAL | 2016-12-18
Accelerometer (ICP) |  | #N/A |  | #N/A | #N/A | E3048 | #N/A | #N/A
Accelerometer (ICP) |  | PCB PIEZOTRONICS, INC. |  | 352C22 | 44374 | E3044 | CAL | 2017-02-11
Accelerometer (ICP) |  | PCB PIEZOTRONICS, INC. |  | 352C22 | 44375 | E3045 | CAL | 2016-10-12
Accelerometer (ICP) |  | PCB PIEZOTRONICS, INC. |  | 352C22 | 44381 | E3051 | CAL | 2016-12-18
Accelerometer (ICP) |  | #N/A |  | #N/A | #N/A | E3516 | #N/A | #N/A
Accelerometer |  | #N/A |  | #N/A | #N/A | E4028 | #N/A | #N/A
Accelerometer |  | #N/A |  | #N/A | #N/A | E5646 | #N/A | #N/A
Accelerometer |  | ENDEVCO |  | 2229C | 11489 | E5803 | CAL | 2017-01-12
Accelerometer |  | ENDEVCO |  | 2229C | 11233 | E5861 | CAL | 2017-05-12
Accelerometer (ICP) |  | #N/A |  | #N/A | #N/A | E9270 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | E9853 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | E9854 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | E10726 | #N/A | #N/A
ACCELEROMETER |  | DYTRAN INSTRUMENTS, INC. |  | 3049E | 1436 | E10727 | CAL | 2016-12-17
ACCELEROMETER |  | DYTRAN INSTRUMENTS, INC. |  | 3049E | 1620 | E11992 | CAL | 2016-11-13
ACCELEROMETER |  | DYTRAN INSTRUMENTS, INC. |  | 3049E | 1631 | E11993 | CAL | 2016-11-13
#N/A |  | #N/A |  | #N/A | #N/A | E12819 | #N/A | #N/A
ACCELEROMETER |  | DYTRAN INSTRUMENTS, INC. |  | 304900 | 1723 | E12988 | CAL | 2017-03-29
Accelerometer (ICP) |  | #N/A |  | #N/A | #N/A | E12634 | #N/A | #N/A
Accelerometer (ICP) Triaxial |  | PCB PIEZOTRONICS, INC. |  | 356B21 | 87470 | E6757 | CAL | 2016-12-18
TRIAXIAL ACCELEROMETER |  | DYTRAN INSTRUMENTS, INC. |  | 3143D | 4996 | E9817 | CBU | 2016-08-11
TRIAXIAL ACCELEROMETER |  | DYTRAN INSTRUMENTS, INC. |  | 3143D | 4997 | E9818 | CBU | 2016-08-11
Accelerometer (ICP) Triaxial |  | PCB PIEZOTRONICS, INC. |  | 350B50 | 48155 | E10730 | CAL | 2017-07-05
Accelerometer (ICP) Triaxial |  | #N/A |  | #N/A | #N/A | E12797 | #N/A | #N/A
Accelerometer (ICP) Triaxial |  | #N/A |  | #N/A | #N/A | E7777 | #N/A | #N/A
Accel power supply (1 Chan.) |  | PCB PIEZOTRONICS, INC. |  | 482A21 | 407 | E3043 | CAL | 2017-07-13
Accel power supply (8 Chan with Filter) |  | PCB PIEZOTRONICS, INC. |  | 498A-0057 | 174 | E6740 | CAL | 2017-07-27
Accel power supply (Slim 8 Chan.) |  | PCB PIEZOTRONICS |  | 483C05 | 565 | E12462 | CAL | 2017-03-02
Accel power supply (16 Chan.) |  | PCB PIEZOTRONICS, INC. |  | 481A01 | 371 | E3086 | CAL | 2017-09-29
Charge amp |  | #N/A |  | #N/A | #N/A | E2850 | #N/A | #N/A
Charge amp |  | #N/A |  | #N/A | #N/A | E4396 | #N/A | #N/A
Charge amp |  | TRIG-TEK INC. |  | 203M | 1884 | E4397 | CAL | 2017-07-05
Charge amp |  | TRIG-TEK INC. |  | 203M | 1888 | E4826 | CAL | 2017-01-06
Charge amp |  | TRIG-TEK INC. |  | 203M | 1889 | E4827 | CAL | 2017-01-06
Charge amp |  | TRIG-TEK INC. |  | 203M | 1890 | E4955 | CAL | 2017-01-06
Charge amp |  | TRIG-TEK INC. |  | 203M | 1892 | E4957 | CAL | 2017-07-05
Data Acquisition System |  | DATA PHYSICS |  | 70835 | 14005156 | E10735 | CAL | 2016-11-02
Data Acquisition System |  | DATA PHYSICS |  | 70881 | 14005206 | E11784 | CAL | 2017-02-19
Data Acquisition Unit |  | AGILENT TECHNOLOGIES |  | 34970A | MY41003924 | E1768 | CAL | 2016-12-14
Vibration Protector Monitor |  | TRIG-TEK INC. |  | 620B | 209 | E2274 | CAL | 2017-07-01
Vibration Protector Monitor |  | TRIG-TEK INC. |  | 620C | 110 | E7043 | CAL | 2016-12-28
Vibration Protector Monitor |  | TRIG-TEK INC. |  | 620C | 113 | E8075 | CAL | 2017-01-06
Dual Mode Amp |  | KISTLER |  | 5010B | 2154604 | E11665 | CAL | 2016-11-29 | Force Limit 1
Dual Mode Amp |  | KISTLER |  | 5010B | 2154612 | E11668 | CAL | 2016-11-19 | Force Limit 1
Dual Mode Amp |  | KISTLER |  | 5010B | 2154608 | E11669 | CAL | 2017-02-09 | Force Limit 2
Dual Mode Amp |  | #N/A |  | #N/A | #N/A | E11670 | #N/A | #N/A | Force Limit 2
Dual Mode Amp |  | #N/A |  | #N/A | #N/A | E11671 | #N/A | #N/A | Force Limit 2
Dual Mode Amp |  | KISTLER |  | 5010B | 2154611 | E11672 | CAL | 2016-10-28 | Force Limit 2
Dual Mode Amp |  | KISTLER |  | 5010B | 4885094 | E12433 | CAL | 2017-08-29 | Force Limit 3
Dual Mode Amp |  | KISTLER |  | 5010B | 4885095 | E12434 | CAL | 2017-08-29 | Force Limit 3
Force Gage |  | #N/A |  | #N/A | #N/A | E11689 | #N/A | #N/A | Force Limit B
Force Gage |  | #N/A |  | #N/A | #N/A | E11690 | #N/A | #N/A | Force Limit B
Force Gage |  | #N/A |  | #N/A | #N/A | E11691 | #N/A | #N/A | Force Limit B
Force Gage |  | #N/A |  | #N/A | #N/A | E11692 | #N/A | #N/A | Force Limit B
Force Gage |  | KISTLER |  | 9027C | 4647836 | E11693 | CAL | 2017-08-08 | Spare
Force Gage |  | KISTLER |  | 9028C | 4647849 | E11694 | CAL | 2016-12-08 | Spare
Force Gage |  | KISTLER |  | 9047C | 4664527 | E11695 | CAL | 2016-11-23 | Force Limit C
Force Gage |  | KISTLER |  | 9047C | 4664531 | E11696 | CAL | 2016-11-23 | Force Limit C
Force Gage |  | KISTLER |  | 9048C | 4172094 | E11697 | CAL | 2016-11-23 | Force Limit C
Force Gage |  | KISTLER |  | 9048C | 4714632 | E11698 | CAL | 2016-11-23 | Force Limit C
Force Gage |  | KISTLER |  | 9047C | 4619389 | E11699 | CAL | 2017-01-21 | Force Limit D
Force Gage |  | KISTLER |  | 9047C | 4648116 | E11700 | CAL | 2017-01-21 | Force Limit D
Force Gage |  | KISTLER |  | 9048C | 4714626 | E11701 | CAL | 2017-01-21 | Force Limit D
Force Gage |  | KISTLER |  | 9048C | 4714628 | E11702 | CAL | 2017-01-21 | Force Limit D
Force Gage |  | KISTLER |  | 9047C | 4619380 | E11703 | CAL | 2017-08-02 | Spare
Force Gage |  | KISTLER |  | 9048C | 4157181 | E11704 | CAL | 2016-11-23 | Spare
Summing Module |  | PCB PIEZOTRONICS, INC. |  | 070M69 | 3170 | E11627 | CAL | 2016-12-22 | Summer Box
AC Power Supply |  | PCB PIEZOTRONICS, INC. |  | 441A101 | 4426 | E12283 | NCR | 2018-08-26 | Summer Box
3 Slot Chassis |  | PCB PIEZOTRONICS, INC. |  | 441A33 | 741 | E12282 | NCR | 2018-08-26 | Summer Box
Summing Module |  | #N/A |  | #N/A | #N/A | E12281 | #N/A | #N/A | Summer Box
Vibration controller (8 Channel) |  | UNHOLTZ-DICKIE CORP |  | VWIN-II | 10016876 | E10376 | CAL | 2017-03-01
VIBRATION CONTROLLER |  | UNHOLTZ-DICKIE CORP |  | VWIN-II | 10026153 | E10782 | CAL | 2017-06-02
Vibration Controller / Analyzer |  | DATA PHYSICS |  | 70880 | 14005205 | E11662 | CAL | 2017-01-25
Vibration Exciter |  | UNHOLTZ-DICKIE CORPORATION |  | T-1000 | 389 | E6967 | CAL | 2016-11-16
VIBRATION EXCITER AMPLIFIER |  | UNHOLTZ-DICKIE CORP |  | SAI-T2000-3/CSTA | 855 | E10330 | CAL | 2017-01-14
Shock System |  | MGA RESEARCH CORPORATION |  | MOBILE PYROSHOCK SYSTEM | 14.001.02 | E12494 | NCR | 2018-11-02 | Beam Shock
Data Acquisition Card |  | NATIONAL INSTRUMENTS |  | PCI-4472 | 18FFCF6 | E12453 | CAL | 2017-08-12 | Beam Shock
Pressure Gage |  | ASHCROFT |  | 1008 | NONE | E12636 | NCR | 2018-10-29 | Beam Shock
Shock Accelerometer |  | #N/A |  | #N/A | #N/A | E12436 | #N/A | #N/A | Beam Shock
Shock Accelerometer |  | PCB PIEZOTRONICS, INC. |  | 350C23 | 52240 | E12437 | CAL | 2017-08-15 | Beam Shock
Shock Accelerometer |  | PCB PIEZOTRONICS, INC. |  | 350C23 | 52241 | E12438 | CAL | 2017-08-15 | Beam Shock
Shock Accelerometer |  | #N/A |  | #N/A | #N/A | E12439 | #N/A | #N/A | Beam Shock
Shock Accelerometer |  | PCB PIEZOTRONICS, INC. |  | 350C23 | 52243 | E12440 | CAL | 2017-08-15 | Beam Shock
Shock Accelerometer |  | PCB PIEZOTRONICS, INC. |  | 350C23 | 52510 | E12441 | CAL | 2017-08-15 | Beam Shock
Shock Accelerometer |  | PCB PIEZOTRONICS, INC. |  | 350C23 | 52742 | E12442 | CAL | 2017-08-15 | Beam Shock
Shock Accelerometer |  | PCB PIEZOTRONICS, INC. |  | 350C23 | 53188 | E12443 | CAL | 2017-08-15 | Beam Shock
Shock Accelerometer |  | #N/A |  | #N/A | #N/A | E12533 | #N/A | #N/A | Beam Shock
Vibration Fixture - ADU |  | L-3 CINCINNATI ELECTRONICS |  | 607000 | NONE | E8123 | CAL | 2017-02-22
Vibration Fixture - BRCU |  | L-3 CINCINNATI ELECTRONICS |  | 640480 | NONE | E8087 | CBU | 2016-09-28
Vibration Fixture - CR123 |  | L-3 CINCINNATI ELECTRONICS |  | 640598 | NONE | E10518 | CBU | 2015-03-19
Vibration Fixture - CR126 |  | L-3 CINCINNATI ELECTRONICS |  | 640425 | NONE | E8381 | CAL | 2016-11-04
Vibration Fixture - CR126 Boeing |  | #N/A |  | #N/A | #N/A | E11125 | #N/A | #N/A
Vibration Fixture - CR128 |  | #N/A |  | #N/A | #N/A | E12121 | #N/A | #N/A
Vibration Fixture - CR129 |  | #N/A |  | #N/A | #N/A | E9006 | #N/A | #N/A
Vibration Fixture - CR317 CMDRx JPSS |  | L-3 CINCINNATI ELECTRONICS |  | 987303 | N/A | E10424 | CBU | 2015-02-26
Vibration Fixture - DACU |  | HOFFMAN TOOL & DIE |  | 987475 | NONE | E12297 | CAL | 2017-02-04
Vibration Fixture - DAVIS |  | L-3 CINCINNATI ELECTRONICS |  | 947328 | NONE | E9191 | CAL | 2017-01-26
Vibration Fixture - DTP |  | L-3 CINCINNATI ELECTRONICS |  | 606989 | NONE | E8085 | CBU | 2012-07-29 | IN CBU
Vibration Fixture - DVC Y AXIS |  | L-3 CINCINNATI ELECTRONICS |  | 957795 | N/A | E10022 | CAL | 2016-11-02
Vibration Fixture - DVC XZ AXES |  | L-3 CINCINNATI ELECTRONICS |  | 987219 | 1 | E10364 | CAL | 2016-11-02
Vibration Fixture - INSIGHT |  | L-3 CINCINNATI ELECTRONICS |  | 997864 | NONE | E11425 | CBU | 2015-09-30
Vibration Fixture - JASSM |  | L-3 CINCINNATI ELECTRONICS |  | 987390 | NONE | E11352 | CAL | 2016-11-03
Vibration Fixture - KGT-777 |  | L-3 CINCINNATI ELECTRONICS |  | 640479 | NONE | E12008 | CAL | 2017-03-09
Vibration Fixture - Night Conqueror |  | L-3 CINCINNATI ELECTRONICS |  | 606992, 640456 | N/A | E10322 | CAL | 2016-12-15
Vibration Fixture - ORCA |  | L-3 CINCINNATI ELECTRONICS |  | 640478 | NONE | E8086 | CBU | 2016-08-31
Vibration Fixture - Skyfox |  | L-3 CINCINNATI ELECTRONICS |  | 640422 | NONE | E10806 | CBU | 2015-05-16
Vibration Fixture - T711 & T714 |  | L-3 CINCINNATI ELECTRONICS |  | 977669 | N/A | E10240 | CAL | 2016-10-05
Vibration Fixture - T735 TLMTx JPSS |  | L-3 CINCINNATI ELECTRONICS |  | 987302 | NONE | E10501 | CAL | 2017-06-14
Vibration Fixture - T736 HRDTx JPSS |  | L-3 CINCINNATI ELECTRONICS |  | 987303 | N/A | E10424 | CBU | 2015-02-26
Vibration Fixture - T737 SMDTx JPSS |  | L-3 CINCINNATI ELECTRONICS |  | 987302 | NONE | E10501 | CAL | 2017-06-14
Vibration Fixture - T740 |  | L-3 CINCINNATI ELECTRONICS |  | 997058 | NA | E10722 | CAL | 2017-02-16
Vibration Fixture - URCU |  | HOFFMAN TOOL & DIE |  | 640401 | NONE | E4441 | CBU | 2016-08-11
Grounding Station - North Thermotron |  | L-3 CINCINNATI ELECTRONICS |  | CATEGORY 7 | NONE | E3763 | CAL | 2016-10-21
Grounding Station - West Thermotron |  | L-3 CINCINNATI ELECTRONICS |  | CATEGORY 7 | NONE | E6184 | CAL | 2017-07-11
Grounding Station - East Thermotron |  | L-3 CINCINNATI ELECTRONICS |  | CATEGORY 7 | NONE | E3104 | CAL | 2017-07-11
Grounding Station - JSF Thermotron |  | L-3 CINCINNATI ELECTRONICS |  | CATEGORY 7 | NONE | E7781 | CAL | 2017-02-10
Grounding Station - Humidity Chamber |  | L-3 CINCINNATI ELECTRONICS |  | CATEGORY 7 | NONE | E3105 | CAL | 2016-10-21
Grounding Station - Altitude Chamber |  | L-3 CINCINNATI ELECTRONICS |  | CATEGORY 7 | NONE | E3102 | CAL | 2017-07-11
Grounding Station - T2000 South |  | L-3 CINCINNATI ELECTRONICS |  | CATEGORY 7 | NONE | E11718 | CAL | 2017-07-11
Grounding Station - BAE T1000 Shaker |  | L-3 CINCINNATI ELECTRONICS |  | CATEGORY 7 | N/A | E10329 | CAL | 2017-07-11
Grounding Station - Table Top |  | L-3 CINCINNATI ELECTRONICS |  | CATEGORY 4 | NONE | E12495 | CAL | 2017-07-11
Grounding Station - Shock Machine |  | L-3 CINCINNATI ELECTRONICS |  | CATEGORY 7 | NONE | E12789 | CAL | 2017-01-11
Hoist 2 (1 ton) - Thermotron area |  | HARRINGTON HOISTS INC. |  | ES3B-1866 | 462791 | E5006 | CAL | 2017-01-05
Hoist 3 (1 ton) - Ling shakers |  | HARRINGTON HOISTS INC. |  | ES3B-1866 | 462793 | E3192 | CAL | 2017-01-05
Hoist 11 (2 ton) - BAE T1000 shaker |  | HARRINGTON HOISTS INC. |  | ERIA 6A548449 | LE6063001 | E6932 | CAL | 2017-01-05
Analog Volt Ohm Meter |  | SIMPSON |  | 260-8 | NONE | E0054 | NCR | 2019-04-26
Digital Multimeter |  | FLUKE |  | 77 IV | 33190032 | E12769 | CAL | 2017-01-21
Digital Thermometer |  | FLUKE |  | 52 | 5140273 | 9304-02684 | CBU | 2017-05-24
Torque wrench (Camover) |  | MOUNTZ, INC. |  | TB RED 12-21 | TB-11-12-165 | E8821 | CAL | 2016-12-22 | JSF Only
Torque wrench (Camover) |  | MOUNTZ, INC. |  | TB RED 12-21 | TB-11-12-166 | E8822 | CAL | 2017-03-29 | JSF Only
Torque screwdriver (0-6"/lbs dial type) |  | SNAP-ON |  | TQS-050 | 1400 | 26-0141 | CAL | 2016-11-05
Torque wrench +/-4%(10 to 150 ft/lbs) |  | #N/A |  | #N/A | #N/A | 26-0438 | #N/A | #N/A
Torque wrench |  | CONSOLIDATED DEVICES INC |  | 1502 LD1N | NONE | 26-0476 | CAL | 2016-11-19
Torque wrench (Dial 0 to 50 in/lbs) |  | #N/A |  | #N/A | #N/A | 26-0206 | #N/A | #N/A
Torque wrench (65 to 200 in/lbs) |  | SNAP-ON |  | QD2R200 | 1006400801 | E5216 | CAL | 2017-06-22
Torque wrench (65 to 200 in/lbs) |  | SNAP-ON |  | QD2R200 | 1006400889 | E5217 | CAL | 2017-06-22
Torque wrench (65 to 200 in/lbs) |  | SNAP-ON |  | QD2R200 | 108503146 | E5963 | CAL | 2017-04-15
Torque wrench (ratchet 150 to 1000 in/lbs) |  | SNAP-ON |  | QD2R1000 | 612501377 | E9172 | CAL | 2017-06-21
Torque wrench (30 to 150 ft/lbs) |  | SNAP-ON |  | QD3R150 | 405604408 | E4018 | CAL | 2017-06-21
Thermo Hygrometer |  | FLUKE |  | 1620A | A84998 | E6063 | NCR | 2017-05-19
Thermo Hygrometer Probe |  | #N/A |  | #N/A | #N/A | E6064 | #N/A | #N/A
Thermo Hygrometer Probe |  | #N/A |  | #N/A | #N/A | E6065 | #N/A | #N/A
Thermo Hygrometer Probe |  | FLUKE |  | 2626-H | A93083 | E7095 | CAL | 2016-12-04
Thermo Hygrometer Probe |  | FLUKE |  | 2626-H | A93084 | E7096 | CAL | 2016-12-04
20 Channel Multiplexer |  | AGILENT TECHNOLOGIES |  | 34901A | US41004999 | E1769 | CAL | 2016-11-04
Temperature Chamber |  | THERMOTRON |  | RA-70-CHV-30-30 W/8800 | 34787 | E3686 | CAL | 2016-12-01 | Thermo N
Temperature Chamber |  | THERMOTRON |  | RA-70-CHV-30-30 W/8800 | 38786 | E6151 | CAL | 2017-09-30 | Thermo W
Temperature Chamber |  | THERMOTRON |  | RA-70-CHV-30-30 | 36091 | E4681 | CAL | 2017-01-08 | Thermo E
Temperature Chamber |  | #N/A |  | #N/A | #N/A | E7725 | #N/A | #N/A | Thermo JSF
Temp/Humidity Chamber -68C to 177C 20% to 95% |  | RUSSELL TECHNICAL PRODUCTS/WAT |  | GD32-3-3 W/F4 W/945 W/DR45AT | 2992880 | 16848 | CAL | 2017-07-19 | Humidity
Power supply |  | #N/A |  | #N/A | #N/A | E3164 | #N/A | #N/A
JETI |  | ADVINT |  | 35-11006 | 5 | E7807 | NCR | 2019-01-18 | JSF VIBE
JSF Load Box |  | L-3 CINCINNATI ELECTRONICS |  | 877730 | 4 | E7808 | NCR | 2019-01-18 | JSF VIBE
Rio Real-Time Controller |  | NATIONAL INSTRUMENTS |  | CRIO-9012 | 00802F11E391 | E7805 | NCR | 2019-01-18 | JSF VIBE
4 Channel Analog Module |  | NATIONAL INSTRUMENTS |  | NI-9229 | 144632F | E7762 | NCR | 2019-01-18 | JSF VIBE
4 Channel Analog Module |  | NATIONAL INSTRUMENTS |  | NI 9239 | 14A69AD | E7806 | NCR | 2019-01-18 | JSF VIBE
Data Acquisition Unit |  | AGILENT TECHNOLOGIES |  | 34970A | MY41030883 | E3671 | CAL | 2017-02-22 | JSF VIBE
20 Channel Multiplexer |  | AGILENT TECHNOLOGIES |  | 34901A | MY411007521 | E7487 | NCR | 2018-10-19 | JSF VIBE
Power Supply |  | AGILENT TECHNOLOGIES |  | E3644A | MY40000053 | E3507 | NCR | 2019-01-18 | JSF VIBE
Power Supply |  | AGILENT TECHNOLOGIES |  | 6653A | MY40000177 | E1260 | NCR | 2019-01-18 | JSF VIBE
JETI |  | L-3 CINCINNATI ELECTRONICS |  | 35-11006 | 1 | E7697 | NCR | 2019-01-18 | JSF TEMP
JSF Load Box |  | L-3 CINCINNATI ELECTRONICS |  | 877730 | 3 | E7757 | NCR | 2019-01-18 | JSF TEMP
Rio Real-Time Controller |  | NATIONAL INSTRUMENTS |  | CRIO-9012 | 00802F124085 | E9378 | NCR | 2019-01-18 | JSF TEMP
4 Channel Analog Module |  | NATIONAL INSTRUMENTS |  | NI-9229 | 1446325 | E7759 | NCR | 2019-01-18 | JSF TEMP
4 Channel Analog Module |  | NATIONAL INSTRUMENTS |  | NI-9229 | 144632C | E7761 | NCR | 2019-01-18 | JSF TEMP
4 Channel Analog Module |  | NATIONAL INSTRUMENTS |  | NI 9239 | 14A698D | E7833 | NCR | 2019-01-18 | JSF TEMP
4 Channel Analog Module |  | NATIONAL INSTRUMENTS |  | NI 9239 | 14A6992 | E7834 | NCR | 2019-01-18 | JSF TEMP
Data Acquisition Unit |  | AGILENT TECHNOLOGIES |  | 34970A | MY44048325 | E7471 | CAL | 2017-07-20 | JSF TEMP 1
20 Channel Multiplexer |  | AGILENT TECHNOLOGIES |  | 34901A | MY411007231 | E7491 | NCR | 2018-10-19 | JSF TEMP 1
Power supply |  | AGILENT TECHNOLOGIES |  | E3644A | MY40007301 | E7475 | NCR | 2018-10-19 | JSF TEMP 1
Power supply |  | TDK LAMBDA |  | GENH 40-19 | 09K8681D | E7483 | NCR | 2018-10-19 | JSF TEMP 1
Bath Chiller |  | LAUDA |  | T2200W | LWP204-05-0001 | E4130 | CAL | 2017-06-15 | JSF TEMP 1
Thermocouple Limit Control |  | OMEGA |  | CN708 | 1 | E8654 | CAL | 2017-01-14 | JSF TEMP 1
Data Acquisition Unit |  | AGILENT TECHNOLOGIES |  | 34970A | MY44048329 | E7472 | CAL | 2017-07-20 | JSF TEMP 2
20 Channel Multiplexer |  | AGILENT TECHNOLOGIES |  | 34901A | MY411007264 | E7489 | NCR | 2018-10-19 | JSF TEMP 2
Power supply |  | AGILENT TECHNOLOGIES |  | E3644A | MY40007302 | E7478 | NCR | 2018-10-19 | JSF TEMP 2
Power supply |  | TDK LAMBDA |  | GENH 40-19 | 11B2495Z | E8449 | NCR | 2017-04-21 | JSF TEMP 2
Bath Chiller |  | LAUDA |  | T2200W | LWP 804-09-0004 | E7790 | CAL | 2017-06-15 | JSF TEMP 2
Thermocouple Limit Control |  | OMEGA |  | CN708 | 2 | E8655 | CAL | 2017-01-14 | JSF TEMP 2
Data Acquisition Unit |  | AGILENT TECHNOLOGIES |  | 34970A | MY44048432 | E7473 | CAL | 2017-07-20 | JSF TEMP 3
20 Channel Multiplexer |  | AGILENT TECHNOLOGIES |  | 34901A | MY411007763 | E7494 | NCR | 2018-10-19 | JSF TEMP 3
Power supply |  | AGILENT TECHNOLOGIES |  | E3644A | MY40007308 | E7477 | NCR | 2018-10-19 | JSF TEMP 3
Power supply |  | TDK LAMBDA |  | GENH 40-19 | 09K8682D | E7484 | NCR | 2018-10-19 | JSF TEMP 3
Bath Chiller |  | LAUDA |  | T2200W | LWP 804-09-0002 | E7788 | CAL | 2017-06-15 | JSF TEMP 3
Thermocouple Limit Control |  | OMEGA |  | CN708 | 3 | E8652 | CAL | 2017-01-14 | JSF TEMP 3
Data Acquisition Unit |  | AGILENT TECHNOLOGIES |  | 34970A | MY44048357 | E7474 | CAL | 2017-07-20 | JSF TEMP 4
20 Channel Multiplexer |  | AGILENT TECHNOLOGIES |  | 34901A | MY411007545 | E7490 | NCR | 2018-10-19 | JSF TEMP 4
Power supply |  | AGILENT TECHNOLOGIES |  | E3644A | MY40007305 | E7476 | NCR | 2018-10-19 | JSF TEMP 4
Power supply |  | TDK LAMBDA |  | GENH 40-19 | 09K8680D | E7482 | NCR | 2018-10-19 | JSF TEMP 4
Bath Chiller |  | #N/A |  | #N/A | #N/A | E7787 | #N/A | #N/A | JSF TEMP 4
Thermocouple Limit Control |  | OMEGA |  | CN708 | 4 | E8653 | CAL | 2017-01-14 | JSF TEMP 4
Bath Chiller |  | LAUDA |  | T2200W | LWP 804-09-0003 | E7789 | CAL | 2017-06-27 | JSF SPARE
EODAS SELF TEST BOX |  | L-3 CINCINNATI ELECTRONICS |  | 877740 | 3 | E7900 | NCR | 2019-01-18 | JSF
Power Supply |  | TDK LAMBDA |  | GENH 40-19 | 09A0041F | E6954 | CAL | 2017-03-17 | EVS 2
Power Supply |  | TDK LAMBDA |  | GENH 40-19 | 09A0042F | E6955 | CAL | 2017-03-17 | EVS 2
Power Supply |  | TDK LAMBDA |  | GENH 40-19 | 09A0044F | E6956 | CAL | 2017-03-17 | EVS 2
Power Supply |  | TDK LAMBDA |  | GENH 40-19 | 09A0045F | E6957 | CAL | 2017-03-17 | EVS 2
Power Supply |  | HEWLETT PACKARD |  | 6002A | 2113A05309 | 11692 | NCR | 2018-03-31 | MAN VIBE
Power Supply |  | HEWLETT PACKARD |  | 6002A | 1802A01316 | 11146 | NCR | 2018-03-31 | MAN VIBE
Power Supply Controller |  | HEWLETT PACKARD |  | 6267B | 2033A06664 | 11656 | NCR | 2019-04-01 | MAN THERM
Power Supply |  | HEWLETT PACKARD |  | 6002A | 2731A10988 | 14046 | NCR | 2018-03-31 | MAN THERM
Power Supply |  | HEWLETT PACKARD |  | 6002A | 1802A01330 | 11147 | NCR | 2019-04-01 | MAN THERM
Power Supply Controller |  | KEPCO |  | MST 488-27 | F95517 | E4768 | NCR | 2019-03-17 | CINR09AB
Power Supply |  | KEPCO |  | MST 25-8M | F94685 | E5150 | CAL | 2017-05-09 | CINR09AB
Power Supply |  | KEPCO |  | MST 36-5M | F96032 | E6805 | CAL | 2016-11-04 | CINR09AB
Power Supply |  | KEPCO |  | MST 25-8M | F94620 | E4770 | CAL | 2017-01-05 | CINR09AB
Power Supply |  | KEPCO |  | MST 36-5M | F94883 | E4967 | CAL | 2017-04-18 | CINR09AB
Power Supply Controller |  | KEPCO |  | MST 488-27 | P96313 | E6816 | NCR | 2018-01-06 | CINR09AE
Power Supply |  | KEPCO |  | MST 25-8M | F94694 | E5507 | CAL | 2016-11-13 | CINR09AE
Power Supply |  | KEPCO |  | MST 36-5M | F94894 | E5761 | CAL | 2017-01-05 | CINR09AE
Power Supply |  | KEPCO |  | MST 25-8M | F95439 | E6792 | CAL | 2017-01-05 | CINR09AE
Power Supply |  | KEPCO |  | MST 36-5M | F81779 | E5146 | CAL | 2017-04-18 | CINR09AE
Power Supply Controller |  | KEPCO |  | MST 488-27 | P96401 | E10293 | NCR | 2017-01-14 | CINR09AD
Power Supply |  | KEPCO |  | MST 25-8M | F94679 | E5498 | CAL | 2016-11-04 | CINR09AD
Power Supply |  | KEPCO |  | MST 36-5M | 94871 | E4962 | CAL | 2017-04-18 | CINR09AD
Power Supply |  | KEPCO |  | MST 25-8M | F94667 | E4779 | CAL | 2017-01-05 | CINR09AD
Power Supply |  | KEPCO |  | MST 36-5M | 94881 | E4966 | CAL | 2017-04-18 | CINR09AD
Power Supply Controller |  | KEPCO |  | MST 488-27 | F95534 | E5048 | NCR | 2019-03-17 | CINR1116
Power Supply |  | KEPCO |  | MST 25-8M | F95440 | E6793 | CAL | 2017-09-27 | CINR1116
Power Supply |  | KEPCO |  | MST 36-5M | F97799 | E10301 | CAL | 2017-01-05 | CINR1116
Power Supply |  | #N/A |  | #N/A | #N/A |  | #N/A | #N/A | CINR1116
Power Supply |  | #N/A |  | #N/A | #N/A |  | #N/A | #N/A | CINR1116
Power Supply Controller |  | KEPCO |  | MST 488-27 | F95608 | E6815 | NCR | 2018-01-13 | CINR1119
Power Supply |  | KEPCO |  | MST 25-8M | F95447 | E6800 | CAL | 2017-01-05 | CINR1119
Power Supply |  | KEPCO |  | MST 36-5M | F96018 | E6801 | CAL | 2017-04-18 | CINR1119
Power Supply |  | #N/A |  | #N/A | #N/A |  | #N/A | #N/A | CINR1119
Power Supply |  | #N/A |  | #N/A | #N/A |  | #N/A | #N/A | CINR1119
Power Supply Controller |  | KEPCO |  | MST 488-27 | F95606 | E6814 | NCR | 2018-01-06 | CINR1117
Power Supply |  | KEPCO |  | MST 25-8M | F95438 | E6791 | CAL | 2017-01-05 | CINR1117
Power Supply |  | KEPCO |  | MST 36-5M | F97801 | E10303 | CAL | 2017-01-05 | CINR1117
Power Supply |  | #N/A |  | #N/A | #N/A |  | #N/A | #N/A | CINR1117
Power Supply |  | #N/A |  | #N/A | #N/A |  | #N/A | #N/A | CINR1117
Power Supply Controller |  | KEPCO |  | MST 488-27 | P96319 | E6817 | NCR | 2018-01-06 | CINR1095
Power Supply |  | KEPCO |  | MST 25-8M | F95426 | E6790 | CAL | 2016-11-04 | CINR1095
Power Supply |  | KEPCO |  | MST 36-5M | F96042 | E6812 | CAL | 2017-09-27 | CINR1095
Power Supply |  | KEPCO |  | MST 25-8M | F95444 | E6797 | CAL | 2017-01-05 | CINR1095
Power Supply |  | KEPCO |  | MST 36-5M | F94886 | E4969 | CAL | 2017-04-18 | CINR1095
Power Supply Controller |  | KEPCO |  | MST 488-27 | F94810 | E4766 | NCR | 2019-03-17 | CINR1093
Power Supply |  | KEPCO |  | MST 25-8M | F94639 | E5140 | CAL | 2017-09-26 | CINR1093
Power Supply |  | KEPCO |  | MST 36-5M | F94897 | E5154 | CAL | 2017-01-05 | CINR1093
Power Supply |  | KEPCO |  | MST 25-8M | F94622 | E4771 | CAL | 2017-01-05 | CINR1093
Power Supply |  | KEPCO |  | MST 36-5M | 94875 | E4963 | CAL | 2017-04-18 | CINR1093
Power Supply Controller |  | KEPCO |  | MST 488-27 | F95515 | E5043 | NCR | 2019-03-17 | CINR1092
Power Supply |  | KEPCO |  | MST 25-8M | F94680 | E5499 | CAL | 2016-11-13 | CINR1092
Power Supply |  | KEPCO |  | MST 36-5M | F94896 | E5510 | CAL | 2016-11-13 | CINR1092
Power Supply |  | KEPCO |  | MST 25-8M | F95503 | E10296 | CAL | 2017-01-05 | CINR1092
Power Supply |  | #N/A |  | #N/A | #N/A | E4959 | #N/A | #N/A | CINR1092
Power Supply Controller |  | KEPCO |  | MST 488-27 | F95547 | E5496 | NCR | 2017-05-19 | CINR0496
Power Supply |  | KEPCO |  | MST 25-8M | F94681 | E5500 | CAL | 2016-11-13 | CINR0496
Power Supply |  | KEPCO |  | MST 36-5M | F81776 | E5145 | CAL | 2016-11-04 | CINR0496
Power Supply |  | KEPCO |  | MST 25-8M | F95443 | E6796 | CAL | 2017-01-05 | CINR0496
Power Supply |  | #N/A |  | #N/A | #N/A | E6804 | #N/A | #N/A | CINR0496
Power Supply Controller |  | KEPCO |  | MST 488-27 | F94811 | E4767 | NCR | 2019-03-17 | CINR0497
Power Supply |  | KEPCO |  | MST 25-8M | F94691 | E5506 | CAL | 2016-11-13 | CINR0497
Power Supply |  | KEPCO |  | MST 36-5M | F97805 | E10306 | CAL | 2017-01-05 | CINR0497
Power Supply |  | KEPCO |  | MST 25-8M | F95445 | E6798 | CAL | 2017-01-05 | CINR0497
Power Supply |  | KEPCO |  | MST 36-5M | F94879 | E4965 | CAL | 2017-04-18 | CINR0497
Power Supply Controller |  | KEPCO |  | MST 488-27 | P96402 | E10294 | NCR | 2017-01-14 | CINR0498
Power Supply |  | KEPCO |  | MST 25-8M | F94635 | E4774 | CAL | 2017-01-05 | CINR0498
Power Supply |  | KEPCO |  | MST 36-5M | F96035 | E6806 | CAL | 2017-01-05 | CINR0498
Power Supply |  | KEPCO |  | MST 25-8M | F95505 | E10298 | CAL | 2017-01-05 | CINR0498
Power Supply |  | #N/A |  | #N/A | #N/A | E4959 | #N/A | #N/A | CINR0498
Power Supply Controller |  | KEPCO |  | MST 488-27 | F95546 | E5050 | NCR | 2019-03-17 | CINR09AP
Power Supply |  | KEPCO |  | MST 25-8M | F94614 | E4769 | CAL | 2017-01-05 | CINR09AP
Power Supply |  | KEPCO |  | MST 36-5M | F97802 | E10304 | CAL | 2017-01-05 | CINR09AP
Power Supply |  | KEPCO |  | MST 25-8M | F94642 | E5142 | CAL | 2017-04-19 | CINR09AP
Power Supply |  | KEPCO |  | MST 36-5M | F94890 | E5508 | CAL | 2017-04-18 | CINR09AP
Power Supply Controller |  | KEPCO |  | MST 488-27 | F95548 | E5051 | NCR | 2019-03-17 | CINR09AQ
Power Supply |  | KEPCO |  | MST 25-8M | F94656 | E4778 | CAL | 2017-01-05 | CINR09AQ
Power Supply |  | KEPCO |  | MST 36-5M | F97803 | E10305 | CAL | 2017-01-05 | CINR09AQ
Power Supply |  | KEPCO |  | MST 25-8M | F95425 | E6789 | CAL | 2017-01-05 | CINR09AQ
Power Supply |  | KEPCO |  | MST 36-5M | F96026 | E6803 | CAL | 2017-04-18 | CINR09AQ
Power Supply Controller |  | KEPCO |  | MST 488-27 | F95543 | E5049 | NCR | 2019-03-17 | CINR09AR
Power Supply |  | KEPCO |  | MST 25-8M | F95442 | E6795 | CAL | 2017-01-05 | CINR09AR
Power Supply |  | KEPCO |  | MST 36-5M | F96040 | E6810 | CAL | 2017-04-18 | CINR09AR
Power Supply |  | KEPCO |  | MST 25-8M | F94633 | E4772 | CAL | 2017-01-05 | CINR09AR
Power Supply |  | KEPCO |  | MST 36-5M | 94878 | E4964 | CAL | 2017-04-18 | CINR09AR
Power Supply Controller |  | KEPCO |  | MST 488-27 | F35607 | E6813 | NCR | 2018-01-13 | CINR1071
Power Supply |  | KEPCO |  | MST 25-8M | F94689 | E5505 | CAL | 2016-11-13 | CINR1071
Power Supply |  | KEPCO |  | MST 36-5M | F96038 | E6808 | CAL | 2017-01-05 | CINR1071
Power Supply |  | KEPCO |  | MST 25-8M | F94651 | E4777 | CAL | 2017-01-05 | CINR1071
Power Supply |  | KEPCO |  | MST 36-5M | F94835 | E4958 | CAL | 2017-05-09 | CINR1071
Power Supply Controller |  | KEPCO |  | MST 488-27 | F95526 | E5046 | NCR | 2019-03-17 | CINR1069
Power Supply |  | KEPCO |  | MST 25-8M | F95502 | E10295 | CAL | 2017-01-05 | CINR1069
Power Supply |  | KEPCO |  | MST 36-5M | F97800 | E10302 | CAL | 2017-01-05 | CINR1069
Power Supply |  | KEPCO |  | MST 25-8M | F95446 | E6799 | CAL | 2017-01-05 | CINR1069
Power Supply |  | KEPCO |  | MST 36-5M | F81778 | E5148 | CAL | 2017-05-09 | CINR1069
Power Supply Controller |  | KEPCO |  | MST 488-27 | P96322 | E6818 | NCR | 2018-01-06 | CINR1070
Power Supply |  | KEPCO |  | MST 25-8M | F95504 | E10297 | CAL | 2017-01-05 | CINR1070
Power Supply |  | KEPCO |  | MST 36-5M | F96039 | E6809 | CAL | 2017-01-05 | CINR1070
Power Supply |  | KEPCO |  | MST 25-8M | F94634 | E4773 | CAL | 2017-01-05 | CINR1070
Power Supply |  | KEPCO |  | MST 36-5M | F96025 | E6802 | CAL | 2017-09-27 | CINR1070
TISA ESS THERMAL ITA |  | L-3 CINCINNATI ELECTRONICS |  | 767982 | 1 | E9025 | NCR | 2018-05-27
TISA ESS THERMAL ITA |  | L-3 CINCINNATI ELECTRONICS |  | 767982 | 2 | E9026 | NCR | 2018-05-27
B-52 ESS VIBE ITA |  | L-3 CINCINNATI ELECTRONICS |  | 897465 | 1 | E9027 | NCR | 2018-05-27
B-52 ESS THERMAL ITA |  | L-3 CINCINNATI ELECTRONICS |  | 897462 | 1 | E9028 | NCR | 2018-05-27
B-52 ESS THERMAL ITA |  | L-3 CINCINNATI ELECTRONICS |  | 897462 | 2 | E9029 | NCR | 2018-05-27
HD IRIE ESS THERMAL ITA |  | L-3 CINCINNATI ELECTRONICS |  | 907269 | 1 | E9030 | NCR | 2018-05-27
HD IRIE ESS THERMAL ITA |  | L-3 CINCINNATI ELECTRONICS |  | 907269 | 2 | E9031 | NCR | 2018-05-27
HD NIGHT HAWK ESS THERMAL ITA |  | L-3 CINCINNATI ELECTRONICS |  | 927143 | 1 | E9032 | NCR | 2018-05-27
HD NIGHT HAWK ESS VIBE ITA |  | L-3 CINCINNATI ELECTRONICS |  | 927154 | 1 | E9033 | NCR | 2018-05-27
HD IRIE ESS VIBE ITA |  | L-3 CINCINNATI ELECTRONICS |  | 907271 | 1 | E9034 | NCR | 2018-05-27
HD IRIE ESS VIBE ITA |  | L-3 CINCINNATI ELECTRONICS |  | 907271 | 2 | E9035 | NCR | 2018-05-27
LAV-III THERMAL ITA |  | L-3 CINCINNATI ELECTRONICS |  | 937556 | 1 | E9111 | NCR | 2018-05-27
LAV III ESS VIBE ITA |  | L-3 CINCINNATI ELECTRONICS |  | 937558 | 1 | E9115 | NCR | 2018-05-27
MICRO-CAM ITA |  | ADVINT |  | 957750 | 1 | E9603 | NCR | 2019-03-17
MICRO-CAM ITA |  | ADVINT |  | 957750 | 2 | E9604 | NCR | 2019-03-17
MICRO-CAM ITA VIBE |  | ADVINT |  | 957755 | 1 | E9606 | NCR | 2019-03-17
Power Supply |  | HEWLETT PACKARD |  | 6205C | 2411A-07656 | 13815 | NCR | 2017-11-24
Pressure Sensor |  | #N/A |  | #N/A | #N/A | E0450 | #N/A | #N/A | Alt
Torque wrench |  | CONSOLIDATED DEVICES INC |  | 502-LDFN | NONE | 26-0483 | CBU | 2016-02-10
Temperature Altitude Chamber |  | THERMOTRON |  | F-64-CMA-705-709 | 5990 | 11062 | CAL | 2017-10-06 | Alt
Temperature Shock Chamber |  | CINCINNATI SUB ZERO |  | DTS-16-25-25 | 91-11140 | E3847 | CBU | 2012-12-08 | Shock
Power supply |  | AGILENT TECHNOLOGIES |  | E3644A | MY40001468 | E3163 | CBU | 2016-01-23
Power supply |  | #N/A |  | #N/A | #N/A | E0784 | #N/A | #N/A
Power supply |  | #N/A |  | #N/A | #N/A | E1298 | #N/A | #N/A
Power supply |  | #N/A |  | #N/A | #N/A | E0779 | #N/A | #N/A
Power supply |  | #N/A |  | #N/A | #N/A | E0947 | #N/A | #N/A
Power supply |  | #N/A |  | #N/A | #N/A | E0765 | #N/A | #N/A
Power supply |  | #N/A |  | #N/A | #N/A | E2477 | #N/A | #N/A
Power supply |  | #N/A |  | #N/A | #N/A | E0780 | #N/A | #N/A
Power supply |  | #N/A |  | #N/A | #N/A | E0997 | #N/A | #N/A
Vibration controller |  | SPECTRAL DYNAMICS INC. |  | 2552B | 2832-7745 | E0457 | CBU | 2011-06-09
Charge amp |  | TRIG-TEK INC. |  | 203M | 1891 | E4956 | CBU | 2015-11-19
Calibration Attenuator |  | GENERAL RADIO |  | 2531-1003 | AA23825 | 9304-03130 | CBU | 2011-06-08
Charge amp |  | PCB PIEZOTRONICS, INC. |  | 464A | 1301 | 9304-03064 | CBU | 2009-05-06
Pressure gauge air digital 0-300 PSIG |  | OMEGA |  | DPG1000B-300G | 1035705002 | E2810 | CBU | 2009-05-15
Prog. Power supply |  | KEPCO |  | BOP-125-1KVA-3T | 297 | 15467 | CBU | 2007-11-10
Accelerometer |  | ENDEVCO |  | 22 | 22503 | E1195 | CBU | 2015-12-03
Power Supply |  | LAMBDA |  | GENH 30-25 | 08D4725F | E6266 | CBU | 2015-11-11 | EVS 1
Power Supply |  | LAMBDA |  | GENH 30-25 | 08D4726F | E6267 | CBU | 2015-11-11 | EVS 1
Power Supply |  | LAMBDA |  | GENH 30-25 | 08D4727F | E6268 | CBU | 2015-11-11 | EVS 1
Power Supply |  | LAMBDA |  | GENH 30-25 | 08D4728F | E6269 | CBU | 2015-11-11 | EVS 1
Accelerometer |  | ENDEVCO |  | 2226C | ANRB9 | E0342 | CBU | 2016-02-17
Accelerometer (ICP) |  | PCB PIEZOTRONICS, INC. |  | 352C22 | 44377 | E3047 | ABEYANCE | 2017-02-05
Interface Box |  | #N/A |  | #N/A | #N/A | E4516 | #N/A | #N/A | 44 SN 001
Interface Box |  | #N/A |  | #N/A | #N/A | E4517 | #N/A | #N/A | 44 SN 002
Digital Power Meter |  | #N/A |  | #N/A | #N/A | E4349 | #N/A | #N/A | 44 SN 002
Digital Power Meter |  | #N/A |  | #N/A | #N/A | E4350 | #N/A | #N/A | 44 SN 002
Power Supply |  | #N/A |  | #N/A | #N/A | E4390 | #N/A | #N/A | 44 SN 002
Power Supply |  | #N/A |  | #N/A | #N/A | E4391 | #N/A | #N/A | 44 SN 002
Power Supply |  | #N/A |  | #N/A | #N/A | E5736 | #N/A | #N/A | BLK VIBE
Power Supply |  | #N/A |  | #N/A | #N/A | E6354 | #N/A | #N/A | BLK VIBE
Power Supply |  | #N/A |  | #N/A | #N/A | E5077 | #N/A | #N/A | BLU VIBE
Power Supply |  | #N/A |  | #N/A | #N/A | E5495 | #N/A | #N/A | BLU VIBE
Power supply |  | #N/A |  | #N/A | #N/A | E7481 | #N/A | #N/A | In Transfer
Power Supply |  | #N/A |  | #N/A | #N/A | E3666 | #N/A | #N/A
20 Channel Multiplexer |  | #N/A |  | #N/A | #N/A | E7492 | #N/A | #N/A | DAS THERM
20 Channel Multiplexer |  | #N/A |  | #N/A | #N/A | E7493 | #N/A | #N/A | DAS THERM
Salt Fog Chamber |  | #N/A |  | #N/A | #N/A | 14065 | #N/A | #N/A
Shock Test Machine |  | #N/A |  | #N/A | #N/A | NA | #N/A | #N/A
Grounding Station - A395 Shaker |  | #N/A |  | #N/A | #N/A | E3106 | #N/A | #N/A
Digital Multimeter |  | #N/A |  | #N/A | #N/A | E2711 | #N/A | #N/A
Digital Tape recorder |  | #N/A |  | #N/A | #N/A | 16859 | #N/A | #N/A
Digital Tape recorder |  | #N/A |  | #N/A | #N/A | E5105 | #N/A | #N/A
Package Drop Tester |  | #N/A |  | #N/A | #N/A | NA | #N/A | #N/A
PH tester |  | #N/A |  | #N/A | #N/A | E0591 | #N/A | #N/A
Power supply |  | #N/A |  | #N/A | #N/A | 11151 | #N/A | #N/A
Power supply |  | #N/A |  | #N/A | #N/A | 11152 | #N/A | #N/A
Power Supply |  | #N/A |  | #N/A | #N/A | 14057 | #N/A | #N/A
Power Supply |  | #N/A |  | #N/A | #N/A | 11481 | #N/A | #N/A
Power supply |  | #N/A |  | #N/A | #N/A | E0768 | #N/A | #N/A
Power supply |  | #N/A |  | #N/A | #N/A | E2476 | #N/A | #N/A
Power supply |  | #N/A |  | #N/A | #N/A | E0761 | #N/A | #N/A
Power Supply |  | #N/A |  | #N/A | #N/A | 8812 | #N/A | #N/A
Accelerometer |  | #N/A |  | #N/A | #N/A | E7147 | #N/A | #N/A
Accelerometer |  | #N/A |  | #N/A | #N/A | E7148 | #N/A | #N/A
Accelerometer |  | #N/A |  | #N/A | #N/A | E5862 | #N/A | #N/A
Accelerometer (ICP) |  | #N/A |  | #N/A | #N/A | E2877 | #N/A | #N/A
Accelerometer (ICP) |  | #N/A |  | #N/A | #N/A | E3515 | #N/A | #N/A
Accelerometer (ICP) |  | #N/A |  | #N/A | #N/A | E3046 | #N/A | #N/A
Accelerometer (ICP) |  | #N/A |  | #N/A | #N/A | E3509 | #N/A | #N/A
Accelerometer (ICP) |  | #N/A |  | #N/A | #N/A | E3510 | #N/A | #N/A
Accelerometer (ICP) |  | #N/A |  | #N/A | #N/A | E3514 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | E10074 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | E10075 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | E11678 | #N/A | #N/A
Accelerometer (ICP) Triaxial |  | #N/A |  | #N/A | #N/A | E6082 | #N/A | #N/A
Accelerometer (ICP) Triaxial |  | #N/A |  | #N/A | #N/A | E8550 | #N/A | #N/A
DC Power Supply |  | #N/A |  | #N/A | #N/A | 11157 | #N/A | #N/A
Dial Calipers |  | #N/A |  | #N/A | #N/A | 07-0283 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | E11675 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | E11676 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | E11677 | #N/A | #N/A
Formulas:
CALDUE = VLOOKUP([TEST AREA:],MeTRAX!$A1:N400,7,FALSE)

## MeTRAX
11062 | THERMOTRON | F-64-CMA-705-709 | ALTITUDE/TEMPERATURE CHAMBER | 5990 | CAL | 2017-10-06 | 255 |  | E11672
11146 | HEWLETT PACKARD | 6002A | DC POWER SUPPLY | 1802A01316 | NCR | 2018-03-31 | 380
11147 | HEWLETT PACKARD | 6002A | DC POWER SUPPLY | 1802A01330 | NCR | 2019-04-01 | 641
11656 | HEWLETT PACKARD | 6267B | POWER SUPPLY | 2033A06664 | NCR | 2019-04-01 | 641
11692 | HEWLETT PACKARD | 6002A | DC POWER SUPPLY | 2113A05309 | NCR | 2018-03-31 | 380
11970 | CINCINNATI ELECTRONICS | AN/PSC-3/NSC-7 | BURN IN FIXTURE | 2 | CBU | 2001-07-12 | -3945 |  | E11672
13815 | HEWLETT PACKARD | 6205C | DUAL DC POWER SUPPLY | 2411A-07656 | NCR | 2017-11-24 | 290 |  | E3105
14046 | HEWLETT PACKARD | 6002A | DC POWER SUPPLY | 2731A10988 | NCR | 2018-03-31 | 380 |  | E3763
15467 | KEPCO | BOP-125-1KVA-3T | AC POWER SOURCE | 297 | CBU | 2007-11-10 | -2293
16848 | RUSSELL TECHNICAL PRODUCTS/WAT | GD32-3-3 W/F4 W/945 W/DR45AT | TEMPERATURE CHAMBER W/CONTROLLER W/RECORDER | 2992880 | CAL | 2017-07-19 | 198
26-0141 | SNAP-ON | TQS-050 | TORQUE WRENCH | 1400 | CAL | 2016-11-05 | 15
26-0476 | CONSOLIDATED DEVICES INC | 1502 LD1N | TORQUE WRENCH | NONE | CAL | 2016-11-19 | 25
26-0483 | CONSOLIDATED DEVICES INC | 502-LDFN | TORQUE WRENCH | NONE | CBU | 2016-02-10 | -178
9304-02681 | FLUKE | 75 | DIGITAL MULTIMETER | 50490149 | CAL | 2016-11-30 | 33
9304-02684 | FLUKE | 52 | TEMPERATURE METER | 5140273 | CBU | 2017-05-24 | 158
9304-03064 | PCB PIEZOTRONICS, INC. | 464A | CHARGE AMPLIFIER | 1301 | CBU | 2009-05-06 | -1906
9304-03130 | GENERAL RADIO | 2531-1003 | CAAT BOX | AA23825 | CBU | 2011-06-08 | -1361
9304-03131 | ENDEVCO | 2226C | ACCELEROMETER | A71C | CAL | 2017-07-29 | 205
E0054 | SIMPSON | 260-8 | VOLT-OHM-MILLIAMP METER | NONE | NCR | 2019-04-26 | 660
E0336 | ENDEVCO | 2226C | ACCELEROMETER | ANRA2 | CAL | 2017-01-12 | 64
E0342 | ENDEVCO | 2226C | ACCELEROMETER | ANRB9 | CBU | 2016-02-17 | -173
E0457 | SPECTRAL DYNAMICS INC. | 2552B | VIBRATION CONTROL SYSTEM | 2832-7745 | CBU | 2011-06-09 | -1360
E0860 | UNHOLTZ-DICKIE CORPORATION | CSB-8 | SWITCH BOX | 115 | NCR | 2017-01-27 | 75
E10022 | L-3 CINCINNATI ELECTRONICS | 957795 | DVC Y AXIS VIBRATION FIXTURE | N/A | CAL | 2016-11-02 | 13
E10240 | L-3 CINCINNATI ELECTRONICS | 977669 | T711 & T714 VIBRATION FIXTURE | N/A | CAL | 2016-10-05 | -8
E10292 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | F88060 | NCR | 2017-01-14 | 65
E10293 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | P96401 | NCR | 2017-01-14 | 65
E10294 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | P96402 | NCR | 2017-01-14 | 65
E10295 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F95502 | CAL | 2017-01-05 | 59
E10296 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F95503 | CAL | 2017-01-05 | 59
E10297 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F95504 | CAL | 2017-01-05 | 59
E10298 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F95505 | CAL | 2017-01-05 | 59
E10299 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F95506 | CAL | 2017-06-01 | 164
E10300 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F95507 | CAL | 2017-06-01 | 164
E10301 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F97799 | CAL | 2017-01-05 | 59
E10302 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F97800 | CAL | 2017-01-05 | 59
E10303 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F97801 | CAL | 2017-01-05 | 59
E10304 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F97802 | CAL | 2017-01-05 | 59
E10305 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F97803 | CAL | 2017-01-05 | 59
E10306 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F97805 | CAL | 2017-01-05 | 59
E10322 | L-3 CINCINNATI ELECTRONICS | 606992, 640456 | GENERIC NIGHT CONQUEROR VIBRATION FIXTURE | N/A | CAL | 2016-12-15 | 44
E10329 | L-3 CINCINNATI ELECTRONICS | CATEGORY 7 | STATIC STATION | N/A | CAL | 2017-07-11 | 192
E10330 | UNHOLTZ-DICKIE CORP | SAI-T2000-3/CSTA | VIBRATION EXCITER AMPLIFIER | 855 | CAL | 2017-01-14 | 65
E10364 | L-3 CINCINNATI ELECTRONICS | 987219 | DVC X & Z AXES VIBRATION FIXTURE | 1 | CAL | 2016-11-02 | 13
E10376 | UNHOLTZ-DICKIE CORP | VWIN-II | VIBRATION CONTROLLER | 10016876 | CAL | 2017-03-01 | 98
E10424 | L-3 CINCINNATI ELECTRONICS | 987303 | CR-317 & T-736 VIBRATION FIXTURE | N/A | CBU | 2015-02-26 | -427
E10501 | L-3 CINCINNATI ELECTRONICS | 987302 | T-735 & T-737 VIBRATION FIXTURE | NONE | CAL | 2017-06-14 | 173
E10518 | L-3 CINCINNATI ELECTRONICS | 640598 | CR-123 VIBRATION FIXTURE | NONE | CBU | 2015-03-19 | -412
E10722 | L-3 CINCINNATI ELECTRONICS | 997058 | T-740 VIBRATION FIXTURE | NA | CAL | 2017-02-16 | 89
E10727 | DYTRAN INSTRUMENTS, INC. | 3049E | ACCELEROMETER | 1436 | CAL | 2016-12-17 | 45
E10730 | PCB PIEZOTRONICS, INC. | 350B50 | TRIAXIAL SHOCK ACCELEROMETER | 48155 | CAL | 2017-07-05 | 188
E10735 | DATA PHYSICS | 70835 | DYNAMIC SIGNAL ANALYZER | 14005156 | CAL | 2016-11-02 | 13
E10782 | UNHOLTZ-DICKIE CORP | VWIN-II | VIBRATION CONTROLLER | 10026153 | CAL | 2017-06-02 | 165
E10806 | L-3 CINCINNATI ELECTRONICS | 640422 | GENERIC TRANSMITTER VIBRATION FIXTURE | NONE | CBU | 2015-05-16 | -370
E11352 | L-3 CINCINNATI ELECTRONICS | 987390 | JASSM VIBRATION FIXTURE | NONE | CAL | 2016-11-03 | 14
E11425 | L-3 CINCINNATI ELECTRONICS | 997864 | INSIGHT VIBRATION FIXTURE | NONE | CBU | 2015-09-30 | -273
E11627 | PCB PIEZOTRONICS, INC. | 070M69 | COMPUTATIONAL SIGNAL CONDITIONER | 3170 | CAL | 2016-12-22 | 49
E11628 | PCB PIEZOTRONICS, INC. | 070M69 | COMPUTATIONAL SIGNAL CONDITIONER | 3171 | CAL | 2016-10-14 | -1
E11662 | DATA PHYSICS | 70880 | VIBRATION CONTROLLER & DYNAMIC SIGNAL ANALYZER | 14005205 | CAL | 2017-01-25 | 73
E11665 | KISTLER | 5010B | DUAL MODE AMPLIFIER | 2154604 | CAL | 2016-11-29 | 32
E11666 | KISTLER | 5010B | DUAL MODE AMPLIFIER | 2154610 | CAL | 2017-08-09 | 213
E11667 | KISTLER | 5010B | DUAL MODE AMPLIFIER | 2154607 | CAL | 2017-08-09 | 213
E11668 | KISTLER | 5010B | DUAL MODE AMPLIFIER | 2154612 | CAL | 2016-11-19 | 25
E11669 | KISTLER | 5010B | DUAL MODE AMPLIFIER | 2154608 | CAL | 2017-02-09 | 84
E11672 | KISTLER | 5010B | DUAL MODE AMPLIFIER | 2154611 | CAL | 2016-10-28 | 10 | 65
E11685 | KISTLER | 9027C | TRIAXIAL FORCE SENSOR | 4663911 | CAL | 2016-12-08 | 39
E11686 | KISTLER | 9027C | TRIAXIAL FORCE SENSOR | 4663918 | CAL | 2016-12-08 | 39
E11687 | KISTLER | 9028C | TRIAXIAL FORCE SENSOR | 4710649 | CAL | 2016-12-08 | 39
E11688 | KISTLER | 9028C | TRIAXIAL FORCE SENSOR | 4710662 | CAL | 2016-12-08 | 39
E11693 | KISTLER | 9027C | TRIAXIAL FORCE SENSOR | 4647836 | CAL | 2017-08-08 | 212
E11694 | KISTLER | 9028C | TRIAXIAL FORCE SENSOR | 4647849 | CAL | 2016-12-08 | 39
E11695 | KISTLER | 9047C | TRIAXIAL FORCE SENSOR | 4664527 | CAL | 2016-11-23 | 28
E11696 | KISTLER | 9047C | TRIAXIAL FORCE SENSOR | 4664531 | CAL | 2016-11-23 | 28
E11697 | KISTLER | 9048C | TRIAXIAL FORCE SENSOR | 4172094 | CAL | 2016-11-23 | 28
E11698 | KISTLER | 9048C | TRIAXIAL FORCE SENSOR | 4714632 | CAL | 2016-11-23 | 28
E11699 | KISTLER | 9047C | TRIAXIAL FORCE SENSOR | 4619389 | CAL | 2017-01-21 | 70
E11700 | KISTLER | 9047C | TRIAXIAL FORCE SENSOR | 4648116 | CAL | 2017-01-21 | 70
E11701 | KISTLER | 9048C | TRIAXIAL FORCE SENSOR | 4714626 | CAL | 2017-01-21 | 70
E11702 | KISTLER | 9048C | TRIAXIAL FORCE SENSOR | 4714628 | CAL | 2017-01-21 | 70
E11703 | KISTLER | 9047C | TRIAXIAL FORCE SENSOR | 4619380 | CAL | 2017-08-02 | 208
E11704 | KISTLER | 9048C | TRIAXIAL FORCE SENSOR | 4157181 | CAL | 2016-11-23 | 28
E11718 | L-3 CINCINNATI ELECTRONICS | CATEGORY 7 | STATIC STATION | NONE | CAL | 2017-07-11 | 192
E11782 | PCB PIEZOTRONICS, INC. | 441A101 | AC POWER SUPPLY | 4388 | NCR | 2018-01-13 | 325
E11783 | PCB PIEZOTRONICS, INC. | 441A33 | 3 SLOT CHASSIS | 727 | NCR | 2018-01-13 | 325
E11784 | DATA PHYSICS | 70881 | SIGNALCALC MOBILYZER II-8C1S | 14005206 | CAL | 2017-02-19 | 90
E1195 | ENDEVCO | 22 | ACCELEROMETER | 22503 | CBU | 2015-12-03 | -227
E11992 | DYTRAN INSTRUMENTS, INC. | 3049E | ACCELEROMETER | 1620 | CAL | 2016-11-13 | 20
E11993 | DYTRAN INSTRUMENTS, INC. | 3049E | ACCELEROMETER | 1631 | CAL | 2016-11-13 | 20
E12008 | L-3 CINCINNATI ELECTRONICS | 640479 | KGT-777 VIBRATION FIXTURE | NONE | CAL | 2017-03-09 | 104
E12236 | DYTRAN INSTRUMENTS, INC. | 3143D | TRIAXIAL ACCELEROMETER | 6638 | CAL | 2017-05-13 | 150
E12282 | PCB PIEZOTRONICS, INC. | 441A33 | 3 SLOT CHASSIS | 741 | NCR | 2018-08-26 | 485
E12283 | PCB PIEZOTRONICS, INC. | 441A101 | AC POWER SUPPLY | 4426 | NCR | 2018-08-26 | 485
E12297 | HOFFMAN TOOL & DIE | 987475 | DACU VIBRATION FIXTURE | NONE | CAL | 2017-02-04 | 80
E12314 | AGILENT TECHNOLOGIES | 34970A | DATA ACQUISITION/SWITCH UNIT | MY44083860 | CAL | 2017-01-25 | 73
E12315 | AGILENT TECHNOLOGIES | 34970A | DATA ACQUISITION/SWITCH UNIT | MY44083839 | CAL | 2017-01-18 | 68
E12316 | AGILENT TECHNOLOGIES | 34970A | DATA ACQUISITION/SWITCH UNIT | MY44083840 | CAL | 2017-01-12 | 64
E12318 | AGILENT TECHNOLOGIES | 34970A | DATA ACQUISITION/SWITCH UNIT | MY44083849 | CAL | 2017-01-12 | 64
E12329 | NATIONAL INSTRUMENTS | NI-9229 | 4 CHANNEL ANALOG MODULE | HC1543214 | NCR | 2018-09-30 | 510
E12330 | NATIONAL INSTRUMENTS | NI-9229 | 4 CHANNEL ANALOG MODULE | HC1543162 | NCR | 2018-09-30 | 510
E12331 | NATIONAL INSTRUMENTS | NI-9229 | 4 CHANNEL ANALOG MODULE | HC1475017 | NCR | 2018-09-30 | 510
E12333 | NATIONAL INSTRUMENTS | NI-9238 | 4 CHANNEL ANALOG INPUT MODULE | HC1486595 | NCR | 2018-09-30 | 510
E12334 | NATIONAL INSTRUMENTS | NI-9238 | 4 CHANNEL ANALOG INPUT MODULE | HC2184741 | NCR | 2018-09-30 | 510
E12335 | NATIONAL INSTRUMENTS | NI-9238 | 4 CHANNEL ANALOG INPUT MODULE | HC2184742 | NCR | 2018-09-30 | 510
E12336 | AGILENT | E6653A | DC POWER SUPPLY | MY53000299 | NCR | 2018-09-30 | 510
E12338 | KEYSIGHT TECHNOLOGIES | E3644A | DC POWER SUPPLY | MY54416085 | NCR | 2018-09-30 | 510
E12339 | KEYSIGHT TECHNOLOGIES | E3644A | DC POWER SUPPLY | MY54416082 | NCR | 2018-09-30 | 510
E12340 | KEYSIGHT TECHNOLOGIES | E3644A | DC POWER SUPPLY | MY55076155 | NCR | 2018-09-30 | 510
E12341 | KEYSIGHT TECHNOLOGIES | E3644A | DC POWER SUPPLY | MY54306075 | NCR | 2018-09-30 | 510
E12342 | NATIONAL INSTRUMENTS | CRIO-9030 | 4 SLOT CHASSIS | 1A840D8 | NCR | 2018-09-30 | 510
E12343 | NATIONAL INSTRUMENTS | CRIO-9030 | 4 SLOT CHASSIS | 1A840D6 | NCR | 2018-09-30 | 510
E12344 | ADVINT | 35-11006 | JET-I CHASSIS | 16 | NCR | 2018-09-30 | 510
E12345 | ADVINT | 35-11006 | JET-I CHASSIS | 15 | NCR | 2018-09-30 | 510
E12346 | TDK LAMBDA | GENH750W | POWER SUPPLY | 15C3953Z | NCR | 2018-09-30 | 510
E12347 | TDK LAMBDA | GENH750W | POWER SUPPLY | 15C3952Z | NCR | 2018-09-30 | 510
E12348 | TDK LAMBDA | GENH750W | POWER SUPPLY | 15C3950Z | NCR | 2018-09-30 | 510
E12349 | TDK LAMBDA | GENH750W | POWER SUPPLY | 15C3951Z | NCR | 2018-09-30 | 510
E12350 | L-3 CINCINNATI ELECTRONICS | 877730 | JSF TEST SET LOAD MODULE | 01-012 | NCR | 2018-09-30 | 510
E12357 | L-3 CINCINNATI ELECTRONICS | 877730 | JSF TEST SET LOAD MODULE | 01-013 | NCR | 2018-09-30 | 510
E12433 | KISTLER | 5010B | DUAL MODE AMPLIFIER | 4885094 | CAL | 2017-08-29 | 227
E12434 | KISTLER | 5010B | DUAL MODE AMPLIFIER | 4885095 | CAL | 2017-08-29 | 227
E12437 | PCB PIEZOTRONICS, INC. | 350C23 | ICP SHOCK ACCELEROMETER | 52240 | CAL | 2017-08-15 | 217
E12438 | PCB PIEZOTRONICS, INC. | 350C23 | ICP SHOCK ACCELEROMETER | 52241 | CAL | 2017-08-15 | 217
E12440 | PCB PIEZOTRONICS, INC. | 350C23 | ICP SHOCK ACCELEROMETER | 52243 | CAL | 2017-08-15 | 217
E12441 | PCB PIEZOTRONICS, INC. | 350C23 | ICP SHOCK ACCELEROMETER | 52510 | CAL | 2017-08-15 | 217
E12442 | PCB PIEZOTRONICS, INC. | 350C23 | ICP SHOCK ACCELEROMETER | 52742 | CAL | 2017-08-15 | 217
E12443 | PCB PIEZOTRONICS, INC. | 350C23 | ICP SHOCK ACCELEROMETER | 53188 | CAL | 2017-08-15 | 217
E12453 | NATIONAL INSTRUMENTS | PCI-4472 | 8 CHANNEL DYNAMIC SIGNAL ACQUISITION BOARD | 18FFCF6 | CAL | 2017-08-12 | 215
E12462 | PCB PIEZOTRONICS | 483C05 | 8 CHANNEL SIGNAL CONDITIONER | 565 | CAL | 2017-03-02 | 99
E12494 | MGA RESEARCH CORPORATION | MOBILE PYROSHOCK SYSTEM | MOBILE PYROSCHOCK SYSTEM | 14.001.02 | NCR | 2018-11-02 | 535
E12495 | L-3 CINCINNATI ELECTRONICS | CATEGORY 4 | STATIC STATION | NONE | CAL | 2017-07-11 | 192
E12496 | PCB PIEZOTRONICS, INC. | 481A01 | 16 CHANNEL SIGNAL CONDITIONER | 779 | CAL | 2017-09-29 | 250
E1260 | AGILENT TECHNOLOGIES | 6653A | SYSTEM DC POWER SUPPLY | MY40000177 | NCR | 2019-01-18 | 590
E12636 | ASHCROFT | 1008 | PESSURE GAGE | NONE | NCR | 2018-10-29 | 531
E12653 | AGILENT TECHNOLOGIES | 34901A | 20-CHANNEL MULTIPLEXER | MY41198344 | NCR | 2018-11-09 | 540
E12654 | AGILENT TECHNOLOGIES | 34901A | 20-CHANNEL MULTIPLEXER | MY41199323 | NCR | 2018-11-09 | 540
E12656 | AGILENT TECHNOLOGIES | 34901A | 20-CHANNEL MULTIPLEXER | MY41199253 | NCR | 2018-11-09 | 540
E12657 | AGILENT TECHNOLOGIES | 34901A | 20-CHANNEL MULTIPLEXER | MY41199494 | NCR |  | -30433
E12658 | AGILENT TECHNOLOGIES | 34901A | 20-CHANNEL MULTIPLEXER | MY41199394 | NCR | 2018-11-09 | 540
E12659 | OMEGA | CN708 | THERMOCOUPLE LIMIT CONTROL | NONE | CAL | 2017-01-18 | 68
E12660 | OMEGA | CN708 | THERMOCOUPLE LIMIT CONTROL | NONE | CAL | 2017-01-18 | 68
E12661 | OMEGA | CN708 | THERMOCOUPLE LIMIT CONTROL | NONE | CAL | 2017-01-18 | 68
E12662 | OMEGA | CN708 | THERMOCOUPLE LIMIT CONTROL | NONE | CAL | 2017-01-18 | 68
E12681 | LAUDA | LWP804 | CHILLER | LWP804-15-0006 | CAL | 2017-06-15 | 174
E12682 | LAUDA | LWP804 | CHILLER | LWP804-15-0007 | CAL | 2017-06-15 | 174
E12683 | LAUDA | LWP804 | CHILLER | LWP804-15-0002 | CAL | 2017-06-15 | 174
E12684 | LAUDA | LWP804 | CHILLER | LWP804-15-0003 | CAL | 2017-06-15 | 174
E12750 | SNAP-ON | QD2R100A | TORQUE WRENCH | 1115601233 | CAL | 2016-11-10 | 19
E12769 | FLUKE | 77 IV | DIGITAL MULTIMETER | 33190032 | CAL | 2017-01-21 | 70
E12787 | UNHOLTZ-DICKIE CORPORATION | AM123 | VIBRATION MONITOR-LIMITER | 889 | CAL | 2017-03-29 | 118
E12789 | L-3 CINCINNATI ELECTRONICS | CATEGORY 7 | STATIC STATION | NONE | CAL | 2017-01-11 | 63
E12806 | DYTRAN INSTRUMENTS, INC. | 3049E | ACCELEROMETER | 1705 | CAL | 2017-01-15 | 65
E12988 | DYTRAN INSTRUMENTS, INC. | 304900 | ACCELEROMETER | 1723 | CAL | 2017-03-29 | 118
E13007 | DYTRAN INSTRUMENTS, INC. | 3049E | ACCELEROMETER | 1754 | CAL | 2017-03-29 | 118
E13008 | DYTRAN INSTRUMENTS, INC. | 3049E | ACCELEROMETER | 1753 | CAL | 2017-03-29 | 118
E13030 | UNHOLTZ-DICKIE CORPORATION | AM-123 | VIBRATION MONITOR | 983 | CAL | 2017-06-06 | 167
E13128 | ENDEVCO | 256HX-10 | ISOTRON ACCELEROMETER | 12282 | CAL | 2017-05-12 | 150
E13191 | PCB PIEZOTRONICS, INC. | 350B50 | TRIAXIAL SHOCK ACCELEROMETER | 55511 | CAL | 2017-06-30 | 185
E13213 | SNAP-ON | TQS1A | TORQUE SCREWDRIVER | 9106 | CAL | 2017-07-22 | 200
E13214 | SNAP-ON | TQS1A | TORQUE SCREWDRIVER | 9107 | CAL | 2017-07-25 | 202
E13215 | SNAP-ON | TE6A | TORQUE WRENCH | 28445 | CAL | 2017-07-19 | 198
E1768 | AGILENT TECHNOLOGIES | 34970A | DATA ACQUISITION/SWITCH UNIT | MY41003924 | CAL | 2016-12-14 | 43
E1769 | AGILENT TECHNOLOGIES | 34901A | 20-CHANNEL ARMATURE MULTIPLEXER | US41004999 | CAL | 2016-11-04 | 15
E2274 | TRIG-TEK INC. | 620B | VIBRATION PROTECTOR - MONITOR | 209 | CAL | 2017-07-01 | 185
E2810 | OMEGA | DPG1000B-300G | PRESSURE GAGE | 1035705002 | CBU | 2009-05-15 | -1899
E2851 | TRIG-TEK INC. | 620B | VIBRATION PROTECTION MONITOR | 211 | CAL | 2017-03-15 | 108
E3042 | PCB PIEZOTRONICS, INC. | 353B33 | ICP ACCELEROMETER | C60038 | CAL | 2016-12-18 | 45
E3043 | PCB PIEZOTRONICS, INC. | 482A21 | SIGNAL CONDITIONER | 407 | CAL | 2017-07-13 | 194
E3044 | PCB PIEZOTRONICS, INC. | 352C22 | ICP ACCELEROMETER | 44374 | CAL | 2017-02-11 | 85
E3045 | PCB PIEZOTRONICS, INC. | 352C22 | ICP ACCELEROMETER | 44375 | CAL | 2016-10-12 | -3
E3047 | PCB PIEZOTRONICS, INC. | 352C22 | ICP ACCELEROMETER | 44377 | ABEYANCE | 2017-02-05 | 80
E3051 | PCB PIEZOTRONICS, INC. | 352C22 | ICP ACCELEROMETER | 44381 | CAL | 2016-12-18 | 45
E3086 | PCB PIEZOTRONICS, INC. | 481A01 | SIGNAL CONDITIONER | 371 | CAL | 2017-09-29 | 250
E3102 | L-3 CINCINNATI ELECTRONICS | CATEGORY 7 | STATIC STATION | NONE | CAL | 2017-07-11 | 192
E3104 | L-3 CINCINNATI ELECTRONICS | CATEGORY 7 | STATIC STATION | NONE | CAL | 2017-07-11 | 192
E3105 | L-3 CINCINNATI ELECTRONICS | CATEGORY 7 | STATIC STATION | NONE | CAL | 2016-10-21 | 5 | 175
E3108 | L-3 CINCINNATI ELECTRONICS | CATEGORY 7 | STATIC STATION | NONE | CAL | 2017-07-11 | 192
E3163 | AGILENT TECHNOLOGIES | E3644A | DC POWER SUPPLY | MY40001468 | CBU | 2016-01-23 | -190
E3192 | HARRINGTON HOISTS INC. | ES3B-1866 | OVERHEAD HOIST | 462793 | CAL | 2017-01-05 | 59
E3193 | HARRINGTON HOISTS INC. | ERIA-750 | OVERHEAD HOIST | LE3093001 | CAL | 2017-01-05 | 59
E3507 | AGILENT TECHNOLOGIES | E3644A | POWER SUPPLY | MY40000053 | NCR | 2019-01-18 | 590
E3671 | AGILENT TECHNOLOGIES | 34970A | DATA ACQUISITION/SWITCH UNIT | MY41030883 | CAL | 2017-02-22 | 93
E3686 | THERMOTRON | RA-70-CHV-30-30 W/8800 | TEMPERATURE CHAMBER | 34787 | CAL | 2016-12-01 | 34
E3763 | L-3 CINCINNATI ELECTRONICS | CATEGORY 7 | STATIC STATION | NONE | CAL | 2016-10-21 | 5 | 183
E3847 | CINCINNATI SUB ZERO | DTS-16-25-25 | TEMPERATURE SHOCK CHAMBER | 91-11140 | CBU | 2012-12-08 | -968
E4018 | SNAP-ON | QD3R150 | TORQUE WRENCH | 405604408 | CAL | 2017-06-21 | 178
E4111 | AGILENT TECHNOLOGIES | E3644A | DC POWER SUPPLY | MY40000650 | NCR | 2018-12-02 | 555
E4130 | LAUDA | T2200W | TEMPERATURE CHILLER CONTROLLER | LWP204-05-0001 | CAL | 2017-06-15 | 174
E4387 | UNHOLTZ-DICKIE CORPORATION | T100032WL | ELECTRODYNAMIC SHAKER | 552 | CAL | 2016-12-17 | 45
E4397 | TRIG-TEK INC. | 203M | CHARGE AMPLIFIER MODULE | 1884 | CAL | 2017-07-05 | 188
E4441 | HOFFMAN TOOL & DIE | 640401 | URCU VIBRATION FIXTURE | NONE | CBU | 2016-08-11 | -47
E4681 | THERMOTRON | RA-70-CHV-30-30 | TEMPERATURE CHAMBER | 36091 | CAL | 2017-01-08 | 60
E4765 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | F94807 | NCR | 2019-03-17 | 630
E4766 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | F94810 | NCR | 2019-03-17 | 630
E4767 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | F94811 | NCR | 2019-03-17 | 630
E4768 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | F95517 | NCR | 2019-03-17 | 630
E4769 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F94614 | CAL | 2017-01-05 | 59
E4770 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F94620 | CAL | 2017-01-05 | 59
E4771 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F94622 | CAL | 2017-01-05 | 59
E4772 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F94633 | CAL | 2017-01-05 | 59
E4773 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F94634 | CAL | 2017-01-05 | 59
E4774 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F94635 | CAL | 2017-01-05 | 59
E4777 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F94651 | CAL | 2017-01-05 | 59
E4778 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F94656 | CAL | 2017-01-05 | 59
E4779 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F94667 | CAL | 2017-01-05 | 59
E4826 | TRIG-TEK INC. | 203M | CHARGE AMPLIFIER MODULE | 1888 | CAL | 2017-01-06 | 60
E4827 | TRIG-TEK INC. | 203M | CHARGE AMPLIFIER MODULE | 1889 | CAL | 2017-01-06 | 60
E4955 | TRIG-TEK INC. | 203M | CHARGE AMPLIFIER MODULE | 1890 | CAL | 2017-01-06 | 60
E4956 | TRIG-TEK INC. | 203M | CHARGE AMPLIFIER MODULE | 1891 | CBU | 2015-11-19 | -237
E4957 | TRIG-TEK INC. | 203M | CHARGE AMPLIFIER MODULE | 1892 | CAL | 2017-07-05 | 188
E4958 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F94835 | CAL | 2017-05-09 | 147
E4962 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | 94871 | CAL | 2017-04-18 | 132
E4963 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | 94875 | CAL | 2017-04-18 | 132
E4964 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | 94878 | CAL | 2017-04-18 | 132
E4965 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F94879 | CAL | 2017-04-18 | 132
E4966 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | 94881 | CAL | 2017-04-18 | 132
E4967 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F94883 | CAL | 2017-04-18 | 132
E4969 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F94886 | CAL | 2017-04-18 | 132
E5006 | HARRINGTON HOISTS INC. | ES3B-1866 | OVERHEAD HOIST | 462791 | CAL | 2017-01-05 | 59
E5043 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | F95515 | NCR | 2019-03-17 | 630
E5046 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | F95526 | NCR | 2019-03-17 | 630
E5048 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | F95534 | NCR | 2019-03-17 | 630
E5049 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | F95543 | NCR | 2019-03-17 | 630
E5050 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | F95546 | NCR | 2019-03-17 | 630
E5051 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | F95548 | NCR | 2019-03-17 | 630
E5140 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F94639 | CAL | 2017-09-26 | 247
E5142 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F94642 | CAL | 2017-04-19 | 133
E5145 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F81776 | CAL | 2016-11-04 | 15
E5146 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F81779 | CAL | 2017-04-18 | 132
E5147 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F94868 | CAL | 2017-05-17 | 153
E5148 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F81778 | CAL | 2017-05-09 | 147
E5150 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F94685 | CAL | 2017-05-09 | 147
E5154 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F94897 | CAL | 2017-01-05 | 59
E5216 | SNAP-ON | QD2R200 | TORQUE WRENCH | 1006400801 | CAL | 2017-06-22 | 179
E5217 | SNAP-ON | QD2R200 | TORQUE WRENCH | 1006400889 | CAL | 2017-06-22 | 179
E5496 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | F95547 | NCR | 2017-05-19 | 155
E5498 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F94679 | CAL | 2016-11-04 | 15
E5499 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F94680 | CAL | 2016-11-13 | 20
E5500 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F94681 | CAL | 2016-11-13 | 20
E5505 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F94689 | CAL | 2016-11-13 | 20
E5506 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F94691 | CAL | 2016-11-13 | 20
E5507 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F94694 | CAL | 2016-11-13 | 20
E5508 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F94890 | CAL | 2017-04-18 | 132
E5510 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F94896 | CAL | 2016-11-13 | 20
E5761 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F94894 | CAL | 2017-01-05 | 59
E5803 | ENDEVCO | 2229C | PE ACCELEROMETER | 11489 | CAL | 2017-01-12 | 64
E5861 | ENDEVCO | 2229C | PE ACCELEROMETER | 11233 | CAL | 2017-05-12 | 150
E5963 | SNAP-ON | QD2R200 | TORQUE WRENCH | 108503146 | CAL | 2017-04-15 | 130
E6063 | FLUKE | 1620A | DEWK, THERMO-HYGROMETER DISPLAY | A84998 | NCR | 2017-05-19 | 155
E6136 | PCB PIEZOTRONICS, INC. | 356B21 | TRIAXIAL ICP ACCELEROMETER | 82792 | CAL | 2016-10-12 | -3
E6151 | THERMOTRON | RA-70-CHV-30-30 W/8800 | TEMPERATURE CHAMBER | 38786 | CAL | 2017-09-30 | 250
E6184 | L-3 CINCINNATI ELECTRONICS | CATEGORY 7 | STATIC STATION | NONE | CAL | 2017-07-11 | 192
E6266 | LAMBDA | GENH 30-25 | POWER SUPPLY | 08D4725F | CBU | 2015-11-11 | -243
E6267 | LAMBDA | GENH 30-25 | POWER SUPPLY | 08D4726F | CBU | 2015-11-11 | -243
E6268 | LAMBDA | GENH 30-25 | POWER SUPPLY | 08D4727F | CBU | 2015-11-11 | -243
E6269 | LAMBDA | GENH 30-25 | POWER SUPPLY | 08D4728F | CBU | 2015-11-11 | -243
E6740 | PCB PIEZOTRONICS, INC. | 498A-0057 | SENSOR SIGNAL CONDITIONER | 174 | CAL | 2017-07-27 | 204
E6757 | PCB PIEZOTRONICS, INC. | 356B21 | TRIAXIAL ICP ACCELEROMETER | 87470 | CAL | 2016-12-18 | 45
E6783 | FUTURE DESIGN CONTROLS | FDC-9300 | TEMPERATURE CONTROLLER | 775535 | CBU | 2010-07-13 | -1597
E6789 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F95425 | CAL | 2017-01-05 | 59
E6790 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F95426 | CAL | 2016-11-04 | 15
E6791 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F95438 | CAL | 2017-01-05 | 59
E6792 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F95439 | CAL | 2017-01-05 | 59
E6793 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F95440 | CAL | 2017-09-27 | 248
E6794 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F95441 | CAL | 2017-01-05 | 59
E6795 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F95442 | CAL | 2017-01-05 | 59
E6796 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F95443 | CAL | 2017-01-05 | 59
E6797 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F95444 | CAL | 2017-01-05 | 59
E6798 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F95445 | CAL | 2017-01-05 | 59
E6799 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F95446 | CAL | 2017-01-05 | 59
E6800 | KEPCO | MST 25-8M | DC POWER SUPPLY MODULE | F95447 | CAL | 2017-01-05 | 59
E6801 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F96018 | CAL | 2017-04-18 | 132
E6802 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F96025 | CAL | 2017-09-27 | 248
E6803 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F96026 | CAL | 2017-04-18 | 132
E6805 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F96032 | CAL | 2016-11-04 | 15
E6806 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F96035 | CAL | 2017-01-05 | 59
E6808 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F96038 | CAL | 2017-01-05 | 59
E6809 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F96039 | CAL | 2017-01-05 | 59
E6810 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F96040 | CAL | 2017-04-18 | 132
E6812 | KEPCO | MST 36-5M | DC POWER SUPPLY MODULE | F96042 | CAL | 2017-09-27 | 248
E6813 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | F35607 | NCR | 2018-01-13 | 325
E6814 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | F95606 | NCR | 2018-01-06 | 320
E6815 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | F95608 | NCR | 2018-01-13 | 325
E6816 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | P96313 | NCR | 2018-01-06 | 320
E6817 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | P96319 | NCR | 2018-01-06 | 320
E6818 | KEPCO | MST 488-27 | POWER SUPPLY CONTROLLER | P96322 | NCR | 2018-01-06 | 320
E6932 | HARRINGTON HOISTS INC. | ERIA 6A548449 | OVERHEAD HOIST | LE6063001 | CAL | 2017-01-05 | 59
E6954 | TDK LAMBDA | GENH 40-19 | PROGRAMMABLE DC POWER SUPPLY | 09A0041F | CAL | 2017-03-17 | 110
E6955 | TDK LAMBDA | GENH 40-19 | PROGRAMMABLE DC POWER SUPPLY | 09A0042F | CAL | 2017-03-17 | 110
E6956 | TDK LAMBDA | GENH 40-19 | PROGRAMMABLE DC POWER SUPPLY | 09A0044F | CAL | 2017-03-17 | 110
E6957 | TDK LAMBDA | GENH 40-19 | PROGRAMMABLE DC POWER SUPPLY | 09A0045F | CAL | 2017-03-17 | 110
E6967 | UNHOLTZ-DICKIE CORPORATION | T-1000 | VIBRATION EXCITER SYSTEM | 389 | CAL | 2016-11-16 | 23
E6967-1 | UNHOLTZ-DICKIE CORPORATION | 1150 | VIBRATION EXCITER AMPLIFIER | 2357 | NCR | 2018-03-10 | 365
E6967-2 | UNHOLTZ-DICKIE CORPORATION | 1150 | VIBRATION EXCITER AMPLIFIER | 2358 | NCR | 2018-03-10 | 365
E7043 | TRIG-TEK INC. | 620C | VIBRATION PROTECTOR MONITOR | 110 | CAL | 2016-12-28 | 53
E7095 | FLUKE | 2626-H | THERMO-HYGROMETER PROBE, HIGH ACCURACY | A93083 | CAL | 2016-12-04 | 35
E7096 | FLUKE | 2626-H | THERMO-HYGROMETER PROBE, HIGH ACCURACY | A93084 | CAL | 2016-12-04 | 35
E7471 | AGILENT TECHNOLOGIES | 34970A | DATA ACQUISITION/SWITCH UNIT | MY44048325 | CAL | 2017-07-20 | 199
E7472 | AGILENT TECHNOLOGIES | 34970A | DATA ACQUISITION/SWITCH UNIT | MY44048329 | CAL | 2017-07-20 | 199
E7473 | AGILENT TECHNOLOGIES | 34970A | DATA ACQUISITION/SWITCH UNIT | MY44048432 | CAL | 2017-07-20 | 199
E7474 | AGILENT TECHNOLOGIES | 34970A | DATA ACQUISITION/SWITCH UNIT | MY44048357 | CAL | 2017-07-20 | 199
E7475 | AGILENT TECHNOLOGIES | E3644A | DC POWER SUPPLY | MY40007301 | NCR | 2018-10-19 | 525
E7476 | AGILENT TECHNOLOGIES | E3644A | DC POWER SUPPLY | MY40007305 | NCR | 2018-10-19 | 525
E7477 | AGILENT TECHNOLOGIES | E3644A | DC POWER SUPPLY | MY40007308 | NCR | 2018-10-19 | 525
E7478 | AGILENT TECHNOLOGIES | E3644A | DC POWER SUPPLY | MY40007302 | NCR | 2018-10-19 | 525
E7482 | TDK LAMBDA | GENH 40-19 | DC POWER SUPPLY | 09K8680D | NCR | 2018-10-19 | 525
E7483 | TDK LAMBDA | GENH 40-19 | DC POWER SUPPLY | 09K8681D | NCR | 2018-10-19 | 525
E7484 | TDK LAMBDA | GENH 40-19 | DC POWER SUPPLY | 09K8682D | NCR | 2018-10-19 | 525
E7487 | AGILENT TECHNOLOGIES | 34901A | 20-CHANNEL ARMATURE MULTIPLEXER | MY411007521 | NCR | 2018-10-19 | 525
E7489 | AGILENT TECHNOLOGIES | 34901A | 20-CHANNEL ARMATURE MULTIPLEXER | MY411007264 | NCR | 2018-10-19 | 525
E7490 | AGILENT TECHNOLOGIES | 34901A | 20-CHANNEL ARMATURE MULTIPLEXER | MY411007545 | NCR | 2018-10-19 | 525
E7491 | AGILENT TECHNOLOGIES | 34901A | 20-CHANNEL ARMATURE MULTIPLEXER | MY411007231 | NCR | 2018-10-19 | 525
E7494 | AGILENT TECHNOLOGIES | 34901A | 20-CHANNEL ARMATURE MULTIPLEXER | MY411007763 | NCR | 2018-10-19 | 525
E7697 | L-3 CINCINNATI ELECTRONICS | 35-11006 | JET-I CHASSIS | 1 | NCR | 2019-01-18 | 590
E7757 | L-3 CINCINNATI ELECTRONICS | 877730 | JSF LOAD BOX | 3 | NCR | 2019-01-18 | 590
E7759 | NATIONAL INSTRUMENTS | NI-9229 | 4-CHANNEL ANALOG INPUT MODULE | 1446325 | NCR | 2019-01-18 | 590
E7761 | NATIONAL INSTRUMENTS | NI-9229 | 4-CHANNEL ANALOG INPUT MODULE | 144632C | NCR | 2019-01-18 | 590
E7762 | NATIONAL INSTRUMENTS | NI-9229 | 4-CHANNEL ANALOG INPUT MODULE | 144632F | NCR | 2019-01-18 | 590
E7781 | L-3 CINCINNATI ELECTRONICS | CATEGORY 7 | STATIC STATION | NONE | CAL | 2017-02-10 | 85
E7788 | LAUDA | T2200W | BATH CHILLER | LWP 804-09-0002 | CAL | 2017-06-15 | 174
E7789 | LAUDA | T2200W | BATH CHILLER | LWP 804-09-0003 | CAL | 2017-06-27 | 182
E7790 | LAUDA | T2200W | BATH CHILLER | LWP 804-09-0004 | CAL | 2017-06-15 | 174
E7805 | NATIONAL INSTRUMENTS | CRIO-9012 | REAL TIME CONTROLLER | 00802F11E391 | NCR | 2019-01-18 | 590
E7806 | NATIONAL INSTRUMENTS | NI 9239 | 4-CHANNEL ANALOG INPUT MODULE | 14A69AD | NCR | 2019-01-18 | 590
E7807 | ADVINT | 35-11006 | JET-I CHASSIS | 5 | NCR | 2019-01-18 | 590
E7808 | L-3 CINCINNATI ELECTRONICS | 877730 | JSF TEST SET LOAD MODULE | 4 | NCR | 2019-01-18 | 590
E7833 | NATIONAL INSTRUMENTS | NI 9239 | 4 CHANNEL ANALOG MODULE | 14A698D | NCR | 2019-01-18 | 590
E7834 | NATIONAL INSTRUMENTS | NI 9239 | 4 CHANNEL ANALOG MODULE | 14A6992 | NCR | 2019-01-18 | 590
E7900 | L-3 CINCINNATI ELECTRONICS | 877740 | EODAS SELF TEST BOX | 3 | NCR | 2019-01-18 | 590
E8075 | TRIG-TEK INC. | 620C | VIBRATION PROTECTOR MONITOR | 113 | CAL | 2017-01-06 | 60
E8085 | L-3 CINCINNATI ELECTRONICS | 606989 | DTP VIBRATION FIXTURE | NONE | CBU | 2012-07-29 | -1063
E8086 | L-3 CINCINNATI ELECTRONICS | 640478 | ORCA VIBRATION FIXTURE | NONE | CBU | 2016-08-31 | -33
E8087 | L-3 CINCINNATI ELECTRONICS | 640480 | BRCU VIBRATION FIXTURE | NONE | CBU | 2016-09-28 | -13
E8123 | L-3 CINCINNATI ELECTRONICS | 607000 | ADU VIBRATION FIXTURE | NONE | CAL | 2017-02-22 | 93
E8330 | SNAP-ON | TQS1FUA | TORQUE WRENCH | 6725 | CAL | 2017-02-08 | 83
E8381 | L-3 CINCINNATI ELECTRONICS | 640425 | CRD-126 ULA VIBRATION FIXTURE | NONE | CAL | 2016-11-04 | 15
E8449 | TDK LAMBDA | GENH 40-19 | DC POWER SUPPLY | 11B2495Z | NCR | 2017-04-21 | 135
E8450 | TDK LAMBDA | GENH 40-19 | DC POWER SUPPLY | 11B2499Z | NCR | 2019-06-27 | 704
E8652 | OMEGA | CN708 | THERMOCOUPLE LIMIT CONTROL | 3 | CAL | 2017-01-14 | 65
E8653 | OMEGA | CN708 | THERMOCOUPLE LIMIT CONTROL | 4 | CAL | 2017-01-14 | 65
E8654 | OMEGA | CN708 | THERMOCOUPLE LIMIT CONTROL | 1 | CAL | 2017-01-14 | 65
E8655 | OMEGA | CN708 | THERMOCOUPLE LIMIT CONTROL | 2 | CAL | 2017-01-14 | 65
E8821 | MOUNTZ, INC. | TB RED 12-21 | TORQUE WRENCH PRESET CAM-OVER | TB-11-12-165 | CAL | 2016-12-22 | 49
E8822 | MOUNTZ, INC. | TB RED 12-21 | TORQUE WRENCH PRESET CAM-OVER | TB-11-12-166 | CAL | 2017-03-29 | 118
E9025 | L-3 CINCINNATI ELECTRONICS | 767982 | TISA ESS THERMAL ITA | 1 | NCR | 2018-05-27 | 420
E9026 | L-3 CINCINNATI ELECTRONICS | 767982 | TISA ESS THERMAL ITA | 2 | NCR | 2018-05-27 | 420
E9027 | L-3 CINCINNATI ELECTRONICS | 897465 | B-52 ESS VIBE ITA | 1 | NCR | 2018-05-27 | 420
E9028 | L-3 CINCINNATI ELECTRONICS | 897462 | B-52 ESS THERMAL ITA | 1 | NCR | 2018-05-27 | 420
E9029 | L-3 CINCINNATI ELECTRONICS | 897462 | B-52 ESS THERMAL ITA | 2 | NCR | 2018-05-27 | 420
E9030 | L-3 CINCINNATI ELECTRONICS | 907269 | HD IRIE ESS THERMAL ITA | 1 | NCR | 2018-05-27 | 420
E9031 | L-3 CINCINNATI ELECTRONICS | 907269 | HD IRIE ESS THERMAL ITA | 2 | NCR | 2018-05-27 | 420
E9032 | L-3 CINCINNATI ELECTRONICS | 927143 | HD NIGHT HAWK ESS THERMAL ITA | 1 | NCR | 2018-05-27 | 420
E9033 | L-3 CINCINNATI ELECTRONICS | 927154 | HD NIGHT HAWK ESS VIBE ITA | 1 | NCR | 2018-05-27 | 420
E9034 | L-3 CINCINNATI ELECTRONICS | 907271 | HD IRIE ESS VIBE ITA | 1 | NCR | 2018-05-27 | 420
E9035 | L-3 CINCINNATI ELECTRONICS | 907271 | HD IRIE ESS VIBE ITA | 2 | NCR | 2018-05-27 | 420
E9036 | UNHOLTZ-DICKIE CORPORATION | VWIN II-4CH | VIBRATION CONTROLLER SYSTEM | 10019491 | CAL | 2017-04-05 | 123
E9054 | PCB PIEZOTRONICS, INC. | 320C20 | ICP ACCELEROMETER | 11876 | CAL | 2017-07-01 | 185
E9111 | L-3 CINCINNATI ELECTRONICS | 937556 | LAV-III THERMAL ITA | 1 | NCR | 2018-05-27 | 420
E9115 | L-3 CINCINNATI ELECTRONICS | 937558 | LAV III ESS VIBE ITA | 1 | NCR | 2018-05-27 | 420
E9172 | SNAP-ON | QD2R1000 | TORQUE WRENCH | 612501377 | CAL | 2017-06-21 | 178
E9191 | L-3 CINCINNATI ELECTRONICS | 947328 | DAVIS VIBRATION FIXTURE | NONE | CAL | 2017-01-26 | 74
E9378 | NATIONAL INSTRUMENTS | CRIO-9012 | REAL TIME CONTROLLER | 00802F124085 | NCR | 2019-01-18 | 590
E9603 | ADVINT | 957750 | MICRO-CAM ITA | 1 | NCR | 2019-03-17 | 630
E9604 | ADVINT | 957750 | MICRO-CAM ITA | 2 | NCR | 2019-03-17 | 630
E9606 | ADVINT | 957755 | MICRO-CAM ITA VIBE | 1 | NCR | 2019-03-17 | 630
E9817 | DYTRAN INSTRUMENTS, INC. | 3143D | TRIAXIAL ACCELEROMETER | 4996 | CBU | 2016-08-11 | -47
E9818 | DYTRAN INSTRUMENTS, INC. | 3143D | TRIAXIAL ACCELEROMETER | 4997 | CBU | 2016-08-11 | -47
E9904 | L-3 CINCINNATI ELECTRONICS | 977732 | ITA, ESS, THERMAL CYCLE FOR LAV III | 2 | NCR | 2019-06-24 | 701
PM-16848 | RUSSELL TECHNICAL PRODUCTS/WAT | GD32-3-3 W/F4 W/945 W/DR45AT | TEMPERATURE CHAMBER W/CONTROLLER W/RECORDER | 2992880 | PM | 2016-12-01 | 34
PM-E3192 | HARRINGTON HOISTS INC. | ES3B-1866 | OVERHEAD HOIST | 462793 | PM | 2016-08-24 | -38
PM-E3193 | HARRINGTON HOISTS INC. | ERIA-750 | OVERHEAD HOIST | LE3093001 | PM | 2016-08-24 | -38
PM-E3686 | THERMOTRON | RA-70-CHV-30-30 W/8800 | TEMPERATURE CHAMBER | 34787 | PM | 2016-12-09 | 40
PM-E4130 | LAUDA | T2200W | TEMPERATURE CHILLER | LWP204-05-0001 | PM | 2017-04-12 | 128
PM-E4681 | THERMOTRON | RA-70-CHV-30-30 | TEMPERATURE CHAMBER | 36091 | PM | 2017-05-03 | 143
PM-E5006 | HARRINGTON HOISTS INC. | ES3B-1866 | OVERHEAD HOIST | 462791 | PM | 2016-08-24 | -38
PM-E6151 | THERMOTRON | RA-70-CHV-30-30 W/8800 | TEMPERATURE CHAMBER | 38786 | PM | 2016-12-11 | 40
PM-E6932 | HARRINGTON HOISTS INC. | ERIA 6A548449 | OVERHEAD HOIST | LE6063001 | PM | 2016-08-24 | -38
PM-E7725 | THERMOTRON | RA-70-CHV-30-30 | TEMPERATURE CHAMBER | 40345 | PM | 2015-04-30 | -382
PM-E7787 | LAUDA | T2200W | BATH CHILLER | LWP 804-09-0001 | PM | 2017-04-12 | 128
PM-E7788 | LAUDA | TT2200W | BATH CHILLER | LWP 804-09-0002 | PM | 2017-04-12 | 128
PM-E7789 | LAUDA | T2200W | BATH CHILLER | LWP 804-09-0003 | PM | 2017-04-12 | 128
PM-E7790 | LAUDA | T2200W | BATH CHILLER | LWP 804-09-0004 | PM | 2017-04-12 | 128
-30433
-30433
-30433
-30433
-30433
-30433
-30433
-30433
-30433
-30433
-30433
-30433
-30433
-30433
-30433
-30433
-30433
-30433
-30433

## CalDue
| Work Days Until Due = | 10 |  |  | Days Past Due: | 0
L-3 CE ID Number | Manufacturer | Model | Description | Recall Date | Workdays until due
E11672 | KISTLER | 5010B | DUAL MODE AMPLIFIER | 2016-10-28 | 10
E3105 | L-3 CINCINNATI ELECTRONICS | CATEGORY 7 | STATIC STATION | 2016-10-21 | 5
E3763 | L-3 CINCINNATI ELECTRONICS | CATEGORY 7 | STATIC STATION | 2016-10-21 | 5
Formulas:
Recall Date = IFERROR(VLOOKUP([L-3 CE ID Number],AllMTE,7),"")

## List
Holidays
2013-01-01
2013-01-04
2013-01-18
2013-02-01
2013-02-15
2013-03-01
2013-03-15
2013-03-29
2013-04-12
2013-04-26
2013-05-10
2013-05-24
2013-05-27
2013-06-07
2013-06-21
2013-07-04
2013-07-05
2013-07-19
2013-08-02
2013-08-16
2013-08-30
2013-09-02
2013-09-13
2013-09-27
2013-10-11
2013-10-25
2013-11-08
2013-11-22
2013-11-28
2013-11-29
2013-12-06
2013-12-20
2013-12-24
2013-12-25
2013-12-26
2013-12-30
2013-12-31
2013-01-01
2013-01-04
2013-01-18
2013-02-01
2013-02-15
2013-03-01
2013-03-15
2013-03-29
2013-04-12
2013-04-26
2013-05-10
2013-05-24
2013-05-27
2013-06-07
2013-06-21
2013-07-04
2013-07-05
2013-07-19
2013-08-02
2013-08-16
2013-08-30
2013-09-02
2013-09-13
2013-09-27
2013-10-11
2013-10-25
2013-11-08
2013-11-22
2013-11-28
2013-11-29
2013-12-06
2013-12-20
2013-12-24
2013-12-25
2013-12-26
2013-12-30
2013-12-31