**OCU Burn-In Test Set Equipment List**

| **Item #** | **Description** | **Manufacturer** | **Model #** | **Serial #** | **CE ID #** | **Cal Due Date** |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Windows GTI Computer | Chassis Plans | C3CHASSIS | N/A | N/A | NCR |
| 2 | Windows XP PASS-1000 Computer | Duro PC | RAC033-13 | N/A | N/A | NCR |
| 3 | Power Supply #1 | HP | HP 6643A | US36401101 | E5472 | 7/28/17 |
| 4 | Power Distribution System | Pulizzi | PC975-2109 | N/A | N/A | NCR |
| 5 | Oscilloscope | Yokogawa | DL716 | N/A | E5468 | NCR |
| 6 | Oscilloscope | Yokogawa | DL750 | N/A | E5469 | NCR |
| 7 | UPS | Powerware | 5125 | N/A | N/A | NCR |
| 8 | Thermal Chamber | CSZ | Z32 | Z0313867 | E2792 | 06/13/17 |
| 9 | Data Acquisition Unit | Agilent | 34972A | MY49022784 | E12218 | 08/11/17 |