**OCU Automated Test Stand #2 Equipment List**

Warning – This document contains technical data whose export is restricted by the Arms Export Control Act (Title

22, U.S.C. 2571 et seq.) or Executive Order 12470. Violation of these export control laws is subject to severe

criminal penalties. Dissemination of this document is controlled under DoD Directive 5230.25 and AFI 61-204.

Data contained herein is UNITED LAUNCH ALLIANCE Proprietary Information. Its use, duplication, or disclosure

is subject to the restrictions as stated in the non-disclosure agreement between the Supplier and UNITED LAUNCH ALLIANCE.

**OCU Top Assembly Test Set Channel #1 Equipment List**

| **Item #** | **Description** | **Manufacturer** | **Model #** | **Serial #** | **CE ID #** | **Cal Due Date** |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Windows 7 GTI Computer | Superlogics | N/A | N/A | N/A | N/A |
| 2 | Windows 7 1553 Monitor Computer | Superlogics | N/A | N/A | N/A | N/A |
| 3 | Power Supply #1 | Agilent | 6643A | US36400847 | E5777 | 4/06/17 |
| 4 | Power Supply #2 | Agilent | 6684A | US36410322 | E5779 | 4/06/17 |
| 5 | DMM | Agilent | 34401A | MY53018721 | E12694 | 4/06/17 |
| 6 | Power Distribution System | Eaton | PC975-1969 | N/A | N/A | N/A |
| 7 | VXI Chassis | VXI Technology | CT-400 | N/A | N/A | N/A |
| 8 | MXI-2 Controller | National Instruments | 777178-33 | N/A | N/A | N/A |
| 9 | Realtime Power PC | Emerson | MVME5500 | N/A | N/A | N/A |
| 10 | 1553 Card | Alta dt | PMC-1553-1D-T | N/A | N/A | N/A |
| 11 | VME64x to C-Size VXI | Bustec | ProDAQ 3040 | N/A | N/A | N/A |
| 12 | Comparator / Interrupter | VXI Technology | VM4016-S-11051 | 689443 | E9680 | 10/28/17 |
| 13 | Comparator / Interrupter | VXI Technology | VM4016-S-11051 | 689449 | E9676 | 10/28/17 |
| 14 | Comparator / Interrupter | VXI Technology | VM4016-S-11051 | 689450 | E9681 | 10/28/17 |
| 15 | Comparator / Interrupter | VXI Technology | VM4016-S-11051 | 654593 | E8691 | 6/1/18 |
| 16 | Comparator / Interrupter | VXI Technology | VM4016-S-11051 | 654594 | E8692 | 6/1/18 |
| 17 | Comparator / Interrupter | VXI Technology | VM4016-S-11051 | 654595 | E8693 | 6/1/18 |
| 18 | 16 Channel, 16-Bit DAC | VXI Technology | VM3616A | 681338 | E9675 | 2/2/18 |
| 19 | 48 Channel TTL I/O | VXI Technology | VM1548 | 688881 | E9673 | 10/28/17 |
| 20 | 8 (1x8) 2-Wire Multiplexer | VXI Technology | SMP3001 | N/A | N/A | N/A |
| 21 | 50 Channel, SPDT Relays | VXI Technology | SMP5002 | N/A | N/A | N/A |
| 22 | 16 Channel, 16-Bit Digitizer | VXI Technology | VM2616 | 687357, 687365 | E9690 | 10/28/17 |
| 23 | 16 Channel, 16-Bit Digitizer | VXI Technology | VM2616 | 687360, 687368 | E9686 | 11/5/17 |
| 24 | 16 Channel, 16-Bit Digitizer | VXI Technology | VM2616 | 689465, 687367 | E9685 | 11/5/17 |
| 25 | 16 Channel, 16-Bit Digitizer | VXI Technology | VM2616 | 689468, 687370 | E9687 | 11/5/17 |

**OCU Top Assembly Test Set Channel #2 Equipment List**

| **Item #** | **Description** | **Manufacturer** | **Model #** | **Serial #** | **CE ID #** | **Cal Due Date** |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Windows 7 GTI Computer | Superlogics | N/A | N/A | N/A | N/A |
| 2 | Windows 7 1553 Monitor Computer | Superlogics | N/A | N/A | N/A | N/A |
| 3 | Power Supply #1 | Agilent | 6643A | MY53000246 | E12773 | 4/06/17 |
| 4 | Power Supply #2 | Agilent | 6684A | MY55000108 | E12696 | 4/06/17 |
| 5 | DMM | Agilent | 34401A | MY53018872 | E12693 | 4/06/17 |
| 6 | Power Distribution System | Eaton | PC975-1969 | N/A | N/A | N/A |
| 7 | VXI Chassis | VXI Technology | CT-400 | N/A | N/A | N/A |
| 8 | MXI-2 Controller | National Instruments | 777178-33 | N/A | N/A | N/A |
| 9 | Realtime Power PC | Emerson | MVME5500 | N/A | N/A | N/A |
| 10 | 1553 Card | Alta dt | PMC-1553-1D-T | N/A | N/A | N/A |
| 11 | VME64x to C-Size VXI Adapter | Bustec | ProDAQ 3040 | N/A | N/A | N/A |
| 12 | Comparator / Interrupter | VXI Technology | VM4016-S-11051 | 654596 | E8688 | 11/24/17 |
| 13 | Comparator / Interrupter | VXI Technology | VM4016-S-11051 | 654597 | E8589 | 11/24/17 |
| 14 | Comparator / Interrupter | VXI Technology | VM4016-S-11051 | 654598 | E8690 | 2/11/18 |
| 15 | Comparator / Interrupter | VXI Technology | VM4016-S-11051 | 689444 | E9678 | 10/28/17 |
| 16 | Comparator / Interrupter | VXI Technology | VM4016-S-11051 | 689445 | E9677 | 10/28/17 |
| 17 | Comparator / Interrupter | VXI Technology | VM4016-S-11051 | 689448 | E9679 | 10/28/17 |
| 18 | 16 Channel, 16-Bit DAC | VXI Technology | VM3616A | 678713 | E9674 | 10/28/17 |
| 19 | 48 Channel TTL I/O | VXI Technology | VM1548 | 688885 | E9672 | 10/28/17 |
| 20 | 8 (1x8) 2-Wire Multiplexer | VXI Technology | SMP3001 | N/A | N/A | N/A |
| 21 | 50 Channel, SPDT Relays | VXI Technology | SMP5002 | N/A | N/A | N/A |
| 22 | 16 Channel, 16-Bit Digitizer | VXI Technology | VM2616 | 687359, 687362 | E9691 | 10/28/17 |
| 23 | 16 Channel, 16-Bit Digitizer | VXI Technology | VM2616 | 689490, 687363 | E9688 | 10/28/17 |
| 24 | 16 Channel, 16-Bit Digitizer | VXI Technology | VM2616 | 689471, 689473 | E9684 | 10/28/17 |
| 25 | 16 Channel, 16-Bit Digitizer | VXI Technology | VM2616 | 689472, 687364 | E9689 | 10/28/17 |